| SITE HANDOVER FORM |
| --- |
| Project Number: |  | Project Title: |  |
| Project Manager |  | Location |  |
| 1. SITE HANDOVER WALKROUND – to be completed by Maintenance Manager/Site Manager |
| Site Manager/Maintenance Manager |  |
| Date and Time of walk round: |  |
| 2. CONFIRMATION OF SERVICES ISOLATIONS AND DETAILS – To be completed by Maintenance Manager and Contractor’s Site Manager |
| The following services have been isolated in accordance with the isolation schedule as marked on Part 3: |
| Tick box as appropriate: | Services have been isolated according to details listed in Part 3 | Additional Comments: |
| Electrical | Y | N | ( N/A |  |
| Steam/Hot Water | Y | N | ( N/A |  |
| Cold Water | Y | N | ( N/A |  |
| Gas (Town; Natural; Lab piped) | Y | N | ( N/A |  |
| Vacuum | Y | N | ( N/A |  |
| Piped Gas(Specify) | Y | N | ( N/A |  |
| Steam | Y | N | ( N/A |  |
| Condensate | Y | N | ( N/A |  |
| Liquid Nitrogen | Y | N | ( N/A |  |
| Compressed Air | Y | N | ( N/A |  |
| Medium Process Hot Water | Y | N | ( N/A |  |
| Mechanical | Y | N | ( N/A |  |
| Fire Alarm Equipment | Y | N | ( N/A |  |
| IT Cables | Y | N | ( N/A |  |
| Telecomms Cables | Y | N | ( N/A |  |
| TV Aerial | Y | N | ( N/A |  |
| Other | Y | N | ( N/A |  |

| 3. HANDOVER OF COMPLETED SERIVCE ISOLATIONS SCHEDULE |
| --- |
| Confirmed: Comments: |
| 3.1 Copy of completed service isolations schedule and associated drawings has been handed to contractor? | Y | N |  |
| 4. HANDOVER SIGN OFF CHECK LIST |
| Confirmed: Comments: |
| 4.1. All reasonable steps have been taken to ensure that the isolation work detailed in the Isolations Schedule and the Asbestos enabling works have been completed. | Y | N |  |
| 4.2 All personnel, materials and equipment have been withdrawn from site. | Y | N |  |
| Confirmed: Comments: |
| 4.3. Copy of Area Decontamination Certificate has been handed to contractor? | Y | N | ( N/A |  |
| 4.4 Copy of Equipment Decontamination Certificate has been handed to contractor? | Y | N | ( N/A |  |
| 4.5 Copy of Asbestos Clearance Certificate has been handed to contractor? | Y | N | ( N/A |  |
| 4.6 Any residual Asbestos on site has been identified and marked up with warning signage? | Y | N | ( N/A |  |
| 4.7 Live and Dead services are clearly identified and marked (as far as possible)? | Y | N | ( N/A |  |
| 4.8 Access to any remaining pieces of Live equipment or live fuse boards is restricted by the use of barriers, signage, or lockout systems. | Y | N | ( N/A |  |
|  | Confirmed: | Comments: |
| 4.9 Site Agent is now responsible for ensuring that isolated services are proven to be dead prior to any activities commencing. | Y | N |  |
| 4.10 Site Agent to assume that any unidentified services are live, and to take appropriate safety precautions accordingly. | Y | N |  |
| 4.11 Site Agent to communicate details of isolations, live services and (where applicable) asbestos to demolition and other trade contractors | Y | N |  |
| 4.12 All isolations permits have been signed off | Y | N |  |
| 5. HANDOVER SIGN OFF / COMPLETION CERTIFICATE |
| 5.1 Formal walkround has now been completed: |
| Maintenance Manager: | Signature |  |
|  | Date |  | Time |  |
| Site Representative: Company Name: | Signature |  |
|  | Date |  | Time |  |

Original copy of form should be retained in Construction H&S Site File.

Copy of Form to be forwarded by Maintenance Manager to Project Manager.