## Sheet1
Description | Reported on | Campus | Requestor Comment | Operative Comments
Investigate Decorating - Decorate/make good and paint | 2017-07-11 11:12 | SILWOOD PARK | Rub down damp damaged on lobby wall from shower, make good and paint. | Filled rubbed down and painted wall -------------------
Investigate Decorating - Decorate/make good and paint | 2017-07-18 15:27 | SOUTH KENSINGTON | Clean and paint with anti-mould paint ceiling in shower | Wash ceiling with mould cleaner rinse off . Spot up. Applied 2 coats Mouldshield fungicidal Matt. Materials 1ltr Mouldshield dulux -------------------
Investigate Plumbing - Sink leaking | 2017-07-20 14:00 | ST MARYS | 60301 - please investigate sink in this room to check for leaks - we have damp staining below it. if no leak from sink, please check for signs from balcony. | I have checked room and found no leaks. -------------------
Investigate Plumbing - Pipe leaking | 2017-07-27 11:35 | SILWOOD PARK | Wall is damp around radiator pipes going in to wall to rad in hallway. Investigate cause and fix. | Drain down heating system.removed leaking section of pipework.repaired damaged pipework.replaced section of pipework.refilled heating system and bled of air -------------------
Investigate Misc. - Other | 2017-08-02 14:57 | EVELYN GARDENS | expose section of wall to investigate/test if wall damage is due to damp | Inspected x2 rooms .At the e checked no damp on wall . Find section of the wall paper damaged needs to be removed and redecorated. Reported to client -------------------
Investigate Misc. - Other | 2017-08-02 14:59 | EVELYN GARDENS | expose section of wall to investigate/test if wall damage is due to damp | Measured moisture on wall using moisture meter .Indicate high reading .Need Quote for repaire .Reported to client -------------------
Investigate Decorating - Decorate/make good and paint | 2017-08-03 16:08 | SILWOOD PARK | Repair wall from damp damage and repaint | Filled wall rubbed down and painted x 2 coats of emulsion -------------------
Investigate Decorating - Decorate/make good and paint | 2017-08-14 12:04 | SOUTH KENSINGTON | paint shower ceiling Tuesday 15 Aug Attn | Wash down ceiling.spot up. Applied 2 coats Mouldshield Matt -------------------
Investigate Decorating - Remove mould | 2017-08-17 15:42 | EVELYN GARDENS | investigate and fix damp mark on wall by desk. | Operative Attended: Attended as above tidy up area
Investigate Mechanical - Ventilation not working | 2017-08-23 14:06 | ST MARYS | annexe 211. shower fan not working- no ventilation | Comments by tradesperson: Checked all electrical connections, checked for power from PIR, 230v found, in rear riser Fire damper had closed, reset fire damper, checked operation of vent air flap all in working order. -------------------
Investigate Building Fabric - Wall damaged | 2017-08-24 14:14 | ST MARYS | 54g02 - damp patch around socket. | X has attended to carry out a visual on what needs doing,
Investigate Building Fabric - Wall damaged | 2017-08-24 14:17 | ST MARYS | 74G03 - wall damp around window frame | Remove restrictors from the window,check and find gaps around and on window seal -------------------
Investigate Misc. - Other | 2017-09-01 14:24 | EVELYN GARDENS | investigate damp on wall by window | Inspected damp on wall . Damp coming from exterior gutter and drain pipe .need cherry picker for further investigation. Reported to client . -------------------
Investigate Plumbing - Check for source of leak | 2017-09-07 15:07 | EVELYN GARDENS | investigate damp mark in wall. | Esmail to look into next week. Comments by tradesperson: Inspected damp on wall .l found blocked Hopper and rain pipe .need cherry picker to do the work . Reported to client -------------------
Investigate Decorating - Decorate/make good and paint | 2017-09-14 14:10 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room S4.07 | Wash down ceiling with sugar soap rinse off. Spot up applied 1 coat mould shield, eggshell (Stock Materials) Mould shield 1 Ltr.
Investigate Carpentry - Other | 2017-09-18 12:57 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 004 | Operative attended & Tidy up area 356 oct 2017
Investigate Building Fabric - Other | 2017-09-18 13:17 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 25 | Comments by tradesperson: Wash down ceiling with Mouldshield cleaner and rinse off. Seal stains with stain block plus. Applied X2 coats Mouldshield Matt emulsion.------------------- 356 oct 2017
Investigate Plumbing - Check for source of leak | 2017-09-24 09:53 | EVELYN GARDENS | investigate and repair cause of damp marks in bedroom by desk. see John in office. | Comments by tradesperson: Investigated damp in wall. no damp found. He reported to client------------------ 356 oct 2017
Investigate Plumbing - Check for source of leak | 2017-09-27 11:06 | EVELYN GARDENS | investigate and repair damp amrk on wall between bed and window. | Comments by tradesperson: Refer to X as he investigated when we were there earlier.------------------- 356 oct 2017
Investigate Decorating - Decorate/make good and paint | 2017-09-27 13:16 | EVELYN GARDENS | make good and paint damp mark on wall by desk | Operative attended and tidy up area 356 oct 2017
Investigate Decorating - Decorate/make good and paint | 2017-10-03 12:22 | ST MARYS | G06 - paint mould off of ceiling in bathroom | Operative attended and tidy up area
Investigate Cleaning - Additional cleaning request | 2017-10-09 14:27 | SILWOOD PARK | Clean the mould from the ceiling of the shower cubicle
Investigate Plumbing - Other | 2017-10-11 11:01 | ST MARYS | 52g02 - check what could be cause of damp patch in room. | 16/10 - inspected job and appears to be a roof leak near the corner of building. Several possible places it could be leaking from visual inspection of brick work and rainhead near position of leak. Job for Paul the roof plumber. ------------------ Email sent over to Helpdesk - requesting for a sub job
Investigate Decorating - Decorate/make good and paint | 2017-10-11 11:03 | ST MARYS | 52g02 - paint damp patch in corner | Attended: Door sheet filler 2.5LStain Block 2.5LPainter 2.5LPainter 2.5LJasmine WhiteCleaned and left tidy. 356 oct 2017
Investigate Building Fabric - Other | 2017-10-12 08:43 | SILWOOD PARK | Investigate large problem damp area in corner of toilet. | Found shower pump leaking have ordered new pump------------------- 356 oct 2017
Investigate Decorating - Decorate/make good and paint | 2017-11-02 15:31 | SOUTH KENSINGTON | Clean mouldy windows surround - Rms 149 & 152 | wash down windows with cleaner and rinse off x 2 rooms
Investigate Carpentry - Other | 2017-11-03 13:59 | CHARING CROSS | Room 310- please check damp on ceiling | At the e checked ceiling is safe needs to be redecorated and make good repotted to client -------------------
Investigate Decorating - Remove mould | 2017-11-13 17:07 | ST MARYS | 123 - remove mould from shower | Door sheet filler 2.5L Sandpiper Painter 2.5L Cleaning,
Investigate Plumbing - Check for source of leak | 2017-11-16 11:06 | ST MARYS | Please investigate dump patch on skirt board by the shower 64bb01 | 16/11 - source of leak is flush cone rubber at back of pan. Due to ber inside cupboard being damp termites have come. Pest control to take care of that before I complete job. 08/12 As flush pipe was too short we fitted bers to wedge cistern forward and now not leaking with new flush cone rubber on. Work completed. -------------------
Investigate Pest Control - Pest Control issue | 2017-11-16 15:49 | ST MARYS | Please investigate dump patch on skirt board by the shower 64bb01 Comments by tradesperson: 16/11 - source of leak is flush cone rubber at back of pan. Due to ber inside cupboard being damp termites have come. Pest control to take care of that before I complete job. -------------------
Investigate Decorating - Decorate/make good and paint | 2017-11-17 11:04 | ST MARYS | 76g03 - slight damp stain above wardrobe | Technician attended carried out works as per request left in serviceable condition
Investigate Decorating - Remove mould | 2017-11-20 13:55 | CHARING CROSS | Room G11- Please make good wall and use anti fungal paint in area around bed where mould is | Door sheet filler 2.5L Sandpaper painter 2.5 L Cleaning.
Investigate Decorating - Decorate/make good and paint | 2017-11-20 14:30 | ST MARYS | 225 - mould growing in shower
Investigate Decorating - Decorate/make good and paint | 2017-11-21 09:18 | ST MARYS | 225 - mould growing in shower | Door sheet Filler 2.5L Sandpaper Stan Block 2.5L Painter 2.5L Cleaned Up.
Investigate Decorating - Decorate/make good and paint | 2017-11-27 11:47 | SILWOOD PARK | Remove mould from corner of wall over bath. Make good the patch in plaster work and repaint. | Cleaned off wall and painted -------------------
Investigate Drainage - Blocked drain/stack | 2017-12-05 12:37 | ST MARYS | Not a P2 Photographs and Location Map attached Interiors showing serious damp problems at ceiling height under Porch parapet. Suspect drain block or failure to roof.. Please investigate and assess damage with quote if necessary. | ***Contractor attended to clear drains , cleared and left in working order***
Investigate Decorating - Decorate/make good and paint | 2017-12-12 15:17 | CHARING CROSS | Room B11- please paint section of wall with damp patch- Attn please carry out work between 19th and 22nd December when student is away | Operative attended: carried out, works as instructed, tidy up area
Investigate Decorating - Remove mould | 2017-12-13 14:22 | SILWOOD PARK | Continuous mould build up up by window and also corner by bed. Please investigate cause and also clean away mould. | Cleaned off wall of mildew - condensation applied 2 coats of anti fungal liquid and painted. -------------------
Investigate Decorating - Decorate/make good and paint | 2017-12-19 14:29 | CHARING CROSS | Following defect 23633 please complete painting section of wall affected by leak and damp | Technician attended carried out works as per request left in serviceable condition
Investigate Decorating - Decorate/make good and paint | 2018-01-09 11:36 | SOUTH KENSINGTON | Clean mould and paint if needed - Rm 104 | Operative attended site - stated - "washed down ceiling mould cleaner - scrapped off loose paint and plaster made good with filler x2 fills - sand spot up - applied 1 coat sealer to stains, 2 coats diamond eggshell ceiling x2 walls"
Investigate Building Fabric - Ceiling damaged | 2018-01-15 16:44 | ACTON | C1502K- extensive black mould on ceiling | Cleared mould from ceiling. -------------------
Investigate Misc. - Other | 2018-01-22 15:39 | EVELYN GARDENS | SW5522 investigate reason of mould appearance in the wall | Investigated damp and mould in wall.found leaking gutter and bloke causing damp in wall.the gutter was fixed. Need few weeks before decorating this wall reported to client -------------------
Investigate Decorating - Decorate/make good and paint | 2018-01-23 12:01 | SOUTH KENSINGTON | Make good and paint bathroom ceiling - S4.15 | Wash down ceiling with black Mould cleaner . Scraped off loose paint and plaster. Made good with filler X2 fills sand spot up. Applied X2 coats dulux Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-01-23 12:04 | SOUTH KENSINGTON | Make good and paint ceiling - S4.07 | Wash down with mould cleaner and rinse off. Scraped off loose paint. Made good with filler X2 fills sand spot up. Applied X2 Dulux Mouldshield eggshell. -------------------
Investigate Misc. - Other | 2018-02-09 15:16 | EVELYN GARDENS | HB6131 check damp in wall | Attended site checked damp in wall using moisture meter . No damp in wall found reported to client -------------------
Investigate Decorating - Remove mould | 2018-02-12 12:10 | SOUTH KENSINGTON | Re-grout mouldy section in shower cubicles RS4.15 & S4.17
Investigate Misc. - Other | 2018-02-21 13:06 | EVELYN GARDENS | WJ69G1 check and investigate damp on wall by window | Attended to room inspected damp in wall using moisture meter found a little damp in section of wall needs to be checked again after 3 months reported to client -------------------
Investigate Carpentry - Other | 2018-02-21 17:44 | ST MARYS | 32/34 Ground floor corridor: To check dampness on the wall and ceiling | Used ladder and check 4 location -------------------
Investigate Misc. - Smell | 2018-02-23 09:25 | CHARING CROSS | Investigate the damp smell in the bedroom G13 | Attended to room inspected smell damp in room .No visible evidence can be found. Advice to keep extractor fan running after take bath or shower and shut bathroom door to stop any condensation enter to room reported to client -------------------
Investigate Decorating - Remove mould | 2018-02-27 16:52 | SOUTH KENSINGTON | Ivestigate mould by big window and windowsill | Inspected works water and mould on window cill and window student informed me that when raining water penitent s Works to be referred to glazier -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-06 14:01 | ST MARYS | mould spots in bedroom, paint | Operative attended clean spots & filled / sanded & Painted clean and tidy area.
Investigate Decorating - Decorate/make good and paint | 2018-03-06 14:10 | ST MARYS | mould spots in bathroom, please paint | Prepared area clean spots filled sanded & painted the ceiling / clean area after
Investigate Decorating - Decorate/make good and paint | 2018-03-06 14:15 | ST MARYS | mould in shower room, needs painting | Operative attended as requested, clean spots & painted area clean and tidy area also
Investigate Decorating - Decorate/make good and paint | 2018-03-07 13:18 | ST MARYS | Rooms 205: Bathroom ceiling with mould. Clean, make good and paint | Operative attended as requested clean spots filled & sanded & painted area - clean and tidy area
Investigate Decorating - Decorate/make good and paint | 2018-03-07 13:23 | ST MARYS | Rooms 211: Bathroom ceiling with mould. Clean, make good and paint | Operative attended as requested clean spot & painted clean and tidy area
Investigate Decorating - Decorate/make good and paint | 2018-03-07 13:25 | ST MARYS | Rooms 216 and 224: 2x Bathroom ceiling with mould spots. Clean, make good and paint | Operative attended as requested clean spots filled & sanded & painted area, clean and tidy area
Investigate Misc. - Other | 2018-03-07 16:03 | SILWOOD PARK | Reseal gaps in shower and clean mould from ceiling and touch up paint | Painted ceiling and siliconed shower tray -------------------
Investigate Decorating - Remove mould | 2018-03-13 12:20 | SOUTH KENSINGTON | Ivestigate mould by big window and windowsill. --------------------------- Comments by tradesperson: Inspected works water and mould on window cill and window student informed me that when raining water penitent s Works to be referred to glazier ------------------- | Sub raised for Express Glazing - Works to be referred to glazier. ------------------------------------------------------------ Assigned to Express glazing - email sent over to them on the 13/03/2018 - Mo.A ----------------------------------------------------- Window is not leaking room needs to be aired and clear mold We attended site 13.03.18 and found no leaks around the windows, it looks like condensation on the windows. Please find pictures attached re email on 16/03/2018 08:36am
Investigate Mechanical - Ventilation not working | 2018-03-13 16:45 | SOUTH KENSINGTON | bathroom ventilation not working, damp smell present (defect day) | Carryout collected key checked ventilation in two rooms room 284 has a little bit of damp smell but ventilation working fine at this e possible investigation on b m s trend for e check as requested by client two check m84 ventilation system working fine damp smell present but over smell of somthing on maybe drain or stack smell further investigation required -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-19 09:38 | ST MARYS | mould spots on ceiling | Engineer attended prepared area clean spots & painted, cleaned & tidy area
Investigate Decorating - Decorate/make good and paint | 2018-03-26 12:13 | SOUTH KENSINGTON | Clean mouldy ceiling and paint bathroom ceiling - Rm 210 | Wash down ceiling with mould remover and rinse. Applied X2 coats Diamond eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-26 12:14 | SOUTH KENSINGTON | Clean mouldy ceiling and paint bathroom ceiling - Rm 226 | Wash down ceiling with mould cleaner and rinse off. Applied X2 dulux Mouldshield Matt. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-26 12:14 | SOUTH KENSINGTON | Make good and paint bathroom ceiling - Rm 214 | Scraped off loose paint and filler. Made good with filler X2 fills sand spot up. Seal stain with stain block. Applied X2 coats Mouldshield Matt. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-27 11:49 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - Rm 101 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 coats Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-27 11:49 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - Rm 109 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 dulux Mouldshield eggshell X2 coats. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-27 11:50 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - Rm 120 | Scraped off loose paint and plaster. Made good with filler X2 fills sand spot up. Sealed stains with stain block plus. Applied X2 coats dulux Mouldshield Matt. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-28 11:42 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - Rm 044, 043 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 coats Dulux Mouldshield eggshell X2 ceilings. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-28 12:15 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - EB.14 | Wash down ceiling with mould cleaner and rinse off. Spot up black marks and applied X2 coats Dulux Mouldshield Matt. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-28 12:15 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - EB.11 | Scraped off loose paint and plaster of ceiling. Made good with filler X2 fills sand spot up. Sealed stains from leak with stain block. Applied X2 coats Dulux Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-28 12:16 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - EB.07 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 coats Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-28 12:16 | SOUTH KENSINGTON | Clean & paint mouldy ceiling in bathroom - EB.05 | Wash down ceiling with mould cleaner and rinse off.spot up marks. Applied X2 Dulux Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-03-28 12:17 | SOUTH KENSINGTON | Make good and paint mouldy walls & skirting boards - EB.08 | Scraped off loose paint and plaster from and scraped off loose paint from skirting. Made good with filler X2 fills sand spot up. Applied X2 coats dulux Mouldshield Matt to walls. And applied x1 coat undercoat and X2 coats Diamond eggshell skirting. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-04-06 17:05 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 311 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-04-06 17:11 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 404 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 coats Diamond eggshell. -------------------
Investigate Decorating - Remove mould | 2018-04-06 17:13 | SOUTH KENSINGTON | Regrout between tiles in shower cubicle Rm 404 | Racked out 3and a half sq metres in shower and regrouted -------------------
Investigate Decorating - Remove mould | 2018-04-06 17:15 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 422 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 Dulux Mouldshield eggshell. -------------------
Investigate Building Fabric - Other | 2018-04-16 12:00 | ST MARYS | 34BK02: investigate and report back on wall with damp area by the entrance door frame. | Investigate and find dump go from the ground because never was install membrane and reported back to reception, attach pictures -------------------
Investigate Decorating - Decorate/make good and paint | 2018-05-11 11:17 | SOUTH KENSINGTON | Clean and paint mouldy area in shower room Rm 304 | Wash down ceiling with mould cleaner and rinse off. Spot up p marks. Applied X2 coats Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-05-11 11:18 | SOUTH KENSINGTON | Clean and paint mouldy area in shower room Rm 437 | Wipe down ceiling with mould cleaner and rinse off. Applied X2 coats Dulux Mouldshield eggshell. -------------------
Investigate Building Fabric - Other | 2018-05-11 15:02 | ST MARYS | Room 66301: Investigate and repair damp marks by the window wall coming from the top floor balcony outside. | Supply and seal all the outside area obove window and hopper, make good -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-11 11:27 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - Rm 203 & 206 | Wash down ceilings with mould cleaner and rinse off. Spot up marks and applied X1 coat Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-11 11:27 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - Rm 212 | Wash down ceiling and rinse off. Spot marks. Applied X2 coats Diamond Mouldshield Matt. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-12 11:44 | SOUTH KENSINGTON | Mouldy ceiling in bathroom & bathroom shelf - Rm 204 | Wash down and rinse off ceiling with mould cleaner. Sand down shelf. Scraped off loose paint and blisters. Spot prime. Applied X2 coats Mouldshield.eggshell ceiling and shelf. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-12 11:45 | SOUTH KENSINGTON | Make good and paint wall above the mirror in bathroom - Rm 106 | Scraped off loose paint and plaster from ceiling and wall. Seal area with pva. Made good with filler X2 fills sand spot up. Applied 1 coat stain block to stains. Applied X2 coats Mouldshield eggshell . -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-12 11:47 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - Rm 113 & 104 (att ) | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 Mouldshield eggshell. X 2 ceilings. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-12 11:47 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - Rm 148 (att ) | Wash down ceiling with Sugar soap and rinse off. Applied X 1 Coat mould cleaner and rinse off x2 -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-13 12:14 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - Rm 038 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 coats Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-19 09:37 | SOUTH KENSINGTON | paint shower ceiling Friday defect day | Mo - Washed all mould off ceiling. Rub down fill were needed. Paint in anti mould. Paint 3 coats.
Investigate Decorating - Decorate/make good and paint | 2018-06-19 09:42 | SOUTH KENSINGTON | paint shower ceilings Friday defect day. | Mo - Scraped off loose paint. Spot up marks applied two coats mould shield.
Investigate Carpentry - Other | 2018-06-21 15:22 | ST MARYS | 54G02 - do temporary fix to ensure damp does not come in | This is an old defect - please investigate and resolve - reprinted 28/08/2018 --------------
Investigate Decorating - Decorate/make good and paint | 2018-06-22 09:12 | SOUTH KENSINGTON | Make good and paint ceiling after leak - Rm 255 bathroom | Scraped off loose paint and plaster and blisters. Made good with filler X2 fills sand spot up. Applied X1coats stain block plus . Applied X2 coats Mouldshield eggshell . -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-25 12:42 | SOUTH KENSINGTON | Paint ceiling in bathroom - Rm 147 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied X2 coats Dulux Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2018-06-25 17:25 | ST MARYS | As per discussion with Carlos L. to paint section of the bathroom ceilings with mould: 220 222 223 225 302 311 | Prepared area. Clean ceiling filled, sanded and painted.
Investigate Decorating - Decorate/make good and paint | 2018-06-25 17:34 | ST MARYS | As per discussion with Carlos L. to paint section of the bathroom ceilings with mould: G09 G06 G02 G12 209 218 | Mo:Clean mould and paint whole ceiling clean and tidy area
Investigate Decorating - Decorate/make good and paint | 2018-06-28 12:08 | CHARING CROSS | Room 310- please paint over marks on ceiling caused by leak and paint up 1 x section of wall affected by damp | Mo -Attended stain marked on ceiling, Paint area requested clean and tidy area
Investigate Decorating - Decorate/make good and paint | 2018-07-02 08:02 | SOUTH KENSINGTON | Mouldy ceiling - Rm 212 | Wash down ceiling with mould cleaner and rinse off. Spot up marks. Applied 1 coat Mouldshield eggshell. -------------------
Investigate Plumbing - Other | 2018-07-17 15:26 | EVELYN GARDENS | HB61B2 investigate damp on wall inside toilet. | After investigating damp on wall in toilet. Inspected pipework, check next room to bathroom but found no plaster board. Need to be cut open. Explained to requester quote is needed.
Investigate Decorating - Decorate/make good and paint | 2018-07-18 16:10 | ST MARYS | 50g02 - bad damp stain | Prepared area, scrape, filled, sanded and painted. Left clean and tidy.
Investigate Building Fabric - Other | 2018-07-20 15:59 | ST MARYS | 40302 - investigate damp patch | Investigated damp patch on wall in bedroom and there are no water leak from inside the room. Spoke to requester and recommended that roofers need to check the roof. Requester confirmed he will arrange.
Investigate Building Fabric - Other | 2018-07-24 14:08 | SOUTH KENSINGTON | Repair and paint damp in shower room Rm 152 | Scraped off loose paint and plaster and blisters. Sand down. Seal with pva. Made good with filler X2 fills sand spot up . Seal stains from leak with stain block. . Applied X2 coats Diamond eggshell to section of ceiling and X2 walls. -------------------
Investigate Plumbing - Check for source of leak | 2018-08-02 10:07 | SILWOOD PARK | Wet damp patch appeared on ceiling in BF1.16. Please investigate the cause. | Water marks caused by drain contractors have explained -------------------
Investigate Carpentry - Other | 2018-08-22 16:30 | CHARING CROSS | G01- Remastic shower, replace sitles if necessary amd make good damp on wall inside wardrobe | Operative attended and made good wall. Fitted boxing over affected area. painted and made good.
Investigate Plumbing - Other | 2018-09-03 14:23 | ST MARYS | House 72 Level 2: A damp patch has appeared on the ceiling. Please check the bathroom above for any leaks and report back. | Operative attended - No leakage in bathroom above ceiling area - damp patch next to window
Investigate Plumbing - Other | 2018-09-03 14:28 | ST MARYS | 34G03: damp has appeared on ceiling above the far bed. please investigate and report back that there are no issues with the area above it. | Operative attended - water cut off to area above (34h03) - no sign of leakage immediately above far bed
Investigate Decorating - Decorate/make good and paint | 2018-09-17 09:57 | ST MARYS | 38301 - paint wall by bed 40201 - paint mould spots | Operative attended, prepared area, scrape and filled and sanded. painted various areas. Left clean and tidy.
Investigate Decorating - Decorate/make good and paint | 2018-09-20 11:25 | ST MARYS | paint damp staining in rooms after roof repair. | Operative attended - prepared area - scrape - filled - painted - clean and tided various areas
Investigate Decorating - Decorate/make good and paint | 2018-09-21 13:40 | SOUTH KENSINGTON | Clean mouldy ceiling - Rm 155 & Rm 153 | Operatives attended - wash down ceiling spot up black marks with diamond eggshell
Investigate Decorating - Decorate/make good and paint | 2018-09-21 13:41 | SOUTH KENSINGTON | Clean mouldy ceiling - Rm 102 & Rm 254 | Operatives attended - wash down ceiling spot up black marks with diamond eggshell
Investigate Decorating - Decorate/make good and paint | 2018-09-21 13:41 | SOUTH KENSINGTON | Clean mouldy ceiling - Rm 257 & Rm 259 | As per .S - WRK sheet has been printed - 25/09/18 ----------------- Re-assigned to Temp painter ------------ Operative attended - washed down ceiling with sugar soap - spot up black marils with eggshell
Investigate Carpentry - Other | 2018-09-24 16:06 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower cubicle S4.15 & S4.17 | Wash down ceilings with fungicidal cleaner and rinse off.. -------------------
Investigate Plumbing - Other | 2018-09-28 20:40 | ST MARYS | 32G03: investigate and report back on damp patch on wall | Operative attended found work, from old leak. No issue now. Defect closed.
Investigate Building Fabric - Wall damaged | 2018-10-01 15:47 | CHARING CROSS | Room 223- damp on ceiling and walls. Please investigate and advice of any further remedial works | Operative has attended site : prepare area, scrape, filled and sanded the area. Painted, cleaned the area after works. Labour and materials are fully chargeable as agreed
Investigate Decorating - Decorate/make good and paint | 2018-11-05 13:05 | CHARING CROSS | Please remove the mould and paint the ceiling in communal shower opp 223 | Operative attended and investigated - scrape + filled + sanded + Painted - Clean tided area
Investigate Decorating - Remove mould | 2018-11-30 13:32 | CHARING CROSS | Carlos to remove the mould by the window and bed in G11 and paint after. | Operative attended, prepared area, scrape filled, sanded and painted. Clean and tidied area.
Investigate Decorating - Decorate/make good and paint | 2018-11-30 15:07 | SOUTH KENSINGTON | Make good and paint ceiling - S4.15 & S4.17 | Wash down ceilings with mould cleaner and rinse off. Scraped off loose paint and blisters. Made good with filler x2 fills sand spot up. Applied to x2 coats Fungicidal eggshell . -------------------
Investigate Mechanical - Extract fan | 2018-11-30 16:09 | ST MARYS | G11 - bathroom fan extractor might not be working properly due to mould appearing on the ceiling. Please check it out | Collected key checked tested fan extract in shower room fan working fine reported back to client and report -------------------
Investigate Decorating - Decorate/make good and paint | 2018-11-30 16:13 | ST MARYS | G11: Mould appeared on the ceiling, please make good and paint with bathroom /anti-mould paint | Operative attended and investigated - prepared area - cleaned mold - painted - cleaned and tided area - job complete
Investigate Plumbing - Shower leaking | 2018-12-11 19:07 | ACTON | D102F - a small leak under the shower tray. Water leaks onto carpet in the room whenever student takes a shower. Shower wall in the riser is mouldy. Please investigate - correct room number is D102F (it does not exist on Planon due to incorrect floor plans) | Operative attended and investigated - replaced broken rubber seal under shower - cleaned all pipes - all good - job complete - no further work is required
Investigate Mechanical - Extract fan | 2019-01-11 13:15 | ST MARYS | Rooms 305 and 306: bathroom fans not working and this is staining the ceiling with mould. All rooms on 3rd floor has the fan working very slowly and quietly compare with the rest of the building. | Op Attended - Checked air flow in room 305 and 306 inlet air was closed. Cleaned and checked and all works completed
Investigate Mechanical - Extract fan | 2019-01-25 14:54 | ST MARYS | G10- please check bathroom fan | OP attended - i have checked in room G10 i have found the switch controls the dampers for am flow fuse was blown i have replaced it and tested room all ok
Investigate Building Fabric - Other | 2019-01-28 13:48 | CHARING CROSS | Room B06- shower mouldy shower - painting and regrouting required- also towel rail is shaky | Op attended - Prep area scraped and filled and painted
Investigate Building Fabric - Check ceiling following leak | 2019-03-06 16:13 | SOUTH KENSINGTON | investigate and resolve leak from ceiling above the big window opposite the door | Operative attended possible cause of damp could be an external issue or condensation cold spot in furthest corner from radiator.
Investigate Building Fabric - Other | 2019-03-08 11:10 | SOUTH KENSINGTON | Clean and paint mouldy ceiling Rm 044 | Wash down ceiling with mould cleaner and rinse off. Spot up marks and applied x2 coats Dulux mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-03-13 11:40 | SOUTH KENSINGTON | Paint wall in bathroom - Rm 044 | Wash down walls with black mould cleaner and rinse off. Spot up marks and applied x2 coats dulux mouldshield eggshell shell x4 walls. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-03-19 12:46 | SOUTH KENSINGTON | Make good and paint ceiling & wall - S4.15 & S4.07 | Wash down ceiling and walls with black mould cleaner and rinse off. Spot marks and applied x2 coats mouldshield fungicidal eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-03-19 13:13 | SOUTH KENSINGTON | Wash mould make good and paint wall next to the bed - Rm 219 | Wipe down walls with black mould cleaner and rinse off. Spot up marks & applied x2 coats dulux mouldshield eggshell c x3 walls. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:24 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rms 259 & 257 | Wash down with black mould cleaner and rinse off. Spot up marks. Applied x2 coats mouldshield eggshell x2 ceilings -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:24 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rms 254 & 252 | Wash down ceilings with sugar soap and rinse off. Spot up. Applied x1 Dulux mouldshield eggshell. X2 ceilings -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:25 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 209 | Wipe down ceiling with mould cleaner and rinse off. Spot up marks. Applied x2 Dulux mouldshield Matt emulsion. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:25 | SOUTH KENSINGTON | Make good and paint bathroom ceiling - Rm 218 | Wipe down ceiling with mould cleaner and rinse off. Raked out cracks and scraped off loose paint. Made good with filler x2 fills sand spot up. Applied x2 Dulux mouldshield Matt emulsion. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:26 | SOUTH KENSINGTON | Make good and paint bathroom ceiling - Rm 216 | Scraped off loose paint and blisters. Seal area with pva. Made good with filler x2 fills sand spot up . Applied x2 coats mouldshield Matt emulsion. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:26 | SOUTH KENSINGTON | Make good and paint bathroom ceiling & walls - Rm 206 | .wash down ceiling with mould cleaner and rinse off. Caulkedin cracks. Spot up marks. Applied x2 coats Mouldshield eggshell. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-04 11:27 | SOUTH KENSINGTON | Make good and paint bathroom ceiling & walls - Rm 203 | Wash down walls with black mould cleaner and rinse off. Scraped off loose paint and blisters. Made good with filler x2 fills sand spot up. Applied x2 coats Dulux mouldshield eggshell ceiling and walls. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-05 10:43 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rms 155 & 153 | Removed toiletries. Wash down shelves. Scraped off loose paint. Sand spot up. Applied x2 coats diamond eggshell x2 shelves. Replaced toiletries. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-05 10:43 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rms 150 & 147 | Remove all toiletries. Wash down shelves. Scraped off loose paint. Sand spot up. Applied x2 coats diamond eggshell x2 shelves. Replace toiletries. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-05 10:44 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rms 118, 117 & 113 | Wash down ceiling with black mould cleaner and rinse off. Touch in area’s with mouldshield Matt x2 coats. X3 ceilings. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-08 12:11 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rms 041 & 038 | Removed all toiletries. Wash down shelves. Scraped off loose paint and blisters. Sand spot up. Applied x2 eggshell x2 shelves. -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-10 10:54 | SOUTH KENSINGTON | paint shower ceiling 368/363 | Operative attended and wash ceiling. Repainted with anti mould shield. Applied 2 coats.
Investigate Decorating - Decorate/make good and paint | 2019-04-10 11:02 | SOUTH KENSINGTON | paint shower ceiling 106/103 | Operative attended and wash down ceiling. Repainted anti mould shield. Applied two coats of paint.
Investigate Decorating - Decorate/make good and paint | 2019-04-11 13:32 | SOUTH KENSINGTON | Make good and paint bathroom wall - Rm 206 | Wash down walls with black mould cleaner and rinse off.spot up marks . Applied x2 coats Dulux mouldshield eggshell all walls in shower rom -------------------
Investigate Decorating - Decorate/make good and paint | 2019-04-16 11:40 | EVELYN GARDENS | ROOM 691M3- Please make good small section of wall by radiator affected by damp | Operative attended and prepared areas. Scrape and filled and sanded and painted. Left clean and tidy.
Investigate Decorating - Decorate/make good and paint | 2019-04-24 13:54 | CHARING CROSS | wall was painted few months ago because of mould - it looks it requires painting again. please use the spray first to avoid the mould to appear so quick. | Carlos - Prepared area scrapped and filled and sanded and painted
Investigate Building Fabric - Other | 2019-04-25 13:11 | SOUTH KENSINGTON | Repair and paint mouldy shower room ceiling Rm 013 & 005 | Operative attended and wash ceiling paint with mould shield.
Investigate Building Fabric - Other | 2019-04-25 13:16 | SOUTH KENSINGTON | Repair and paint panel adove shower cubicle Rm 017 | Operative attended and wash down ceiling and repaint. Applied two coats of anti mould shield.
Investigate Building Fabric - Other | 2019-04-25 13:37 | SOUTH KENSINGTON | Repair and paint mouldy shower room ceiling Rm 004 | Operative attended and washed down ceiling. Repainted with anti mould paint. Applied 2 coats.
Investigate Decorating - Decorate/make good and paint | 2019-04-30 09:38 | SOUTH KENSINGTON | Mouldy shower ceiling - Rm 148 | Comments from tradesperson: Wash down ceiling with black mould cleaner and rinse off. Spot up marks and applied x2 coats diamond eggshell.
Investigate Decorating - Decorate/make good and paint | 2019-05-03 12:04 | SOUTH KENSINGTON | Clean mouldy ceiling - EB.07, EB.08 & EB.09 | Operative attended and wash down ceilings and walls with black mould cleaner and rinse off twice.
Investigate Decorating - Decorate/make good and paint | 2019-05-03 12:04 | SOUTH KENSINGTON | Make good and paint bathroom ceiling - EB.06 | - Wash down ceiling with black mould cleaner and rinsed off scrapped off loose paint made good witj filler x 2 fills sanded and spot up applied x2 coats with diamond eggshell
Investigate Building Fabric - Other | 2019-05-09 13:43 | SOUTH KENSINGTON | Make good and paint shower room ceiling Rm 413 & 404 | Operative attended and washed ceiling paint with mould shield.
Investigate Building Fabric - Other | 2019-05-09 13:45 | SOUTH KENSINGTON | Make good and paint shower room ceiling & door frame Rm 302 | Operative attended and wash ceiling paint with mould shield.
Investigate Building Fabric - Other | 2019-05-22 16:39 | SOUTH KENSINGTON | Replace mouldy seal in shower cubicle S4.15 & S4.17 | Comments from tradesperson: Remove old silicone and clean up, use silicone to seal all round shower cubicles, and Cliff did the other shower,and clean up .
Investigate Carpentry - Other | 2019-05-24 11:29 | EVELYN GARDENS | Room HB65B3- Please replace section of skirting board due to dampness- Attn | Comments from tradesperson: Cut to size and make edge on work shop, cut off and remove old board, drill holes and screwed and glued, clean up
Investigate Plumbing - Other | 2019-05-30 09:45 | ST MARYS | 32G03: damp mark appeared on the wall by the desk. Please investigate, report back to Reception and fix it. | Operative attended and investigated damp on wall. Check outside wall, check roof above check guttering and guttering needed sorting out.
Investigate Decorating - Decorate/make good and paint | 2019-06-06 13:03 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 259 & 252 | Ceiling painted as required
Investigate Decorating - Decorate/make good and paint | 2019-06-06 13:04 | SOUTH KENSINGTON | Mouldy bathroom ceiling & walls - Rm 254
Investigate Decorating - Decorate/make good and paint | 2019-06-06 13:04 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 210 & 120 | Painted as requested
Investigate Decorating - Decorate/make good and paint | 2019-06-06 13:05 | SOUTH KENSINGTON | Mouldy bathroom ceiling & walls - Rm 204 | made good painted ceiling and walls
Investigate Decorating - Decorate/make good and paint | 2019-06-07 12:32 | SOUTH KENSINGTON | Mouldy ceiling bathroom - Rm 147 & 150
Investigate Decorating - Decorate/make good and paint | 2019-06-07 12:33 | SOUTH KENSINGTON | Mouldy ceiling bathroom - Rm 153 & 155
Investigate Decorating - Decorate/make good and paint | 2019-06-07 12:34 | SOUTH KENSINGTON | Mouldy ceiling bathroom - Rm 041 & 038
Investigate Decorating - Decorate/make good and paint | 2019-06-07 12:34 | SOUTH KENSINGTON | Mouldy ceiling & walls in bathroom - Rm 046
Investigate Decorating - Decorate/make good and paint | 2019-06-10 10:50 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - EB.15
Investigate Building Fabric - Other | 2019-06-10 15:46 | SOUTH KENSINGTON | Clean and make good mouldy ceiling in shower room Rm 320 | Made good as requested
Investigate Building Fabric - Other | 2019-06-10 15:48 | SOUTH KENSINGTON | Clean and make good mouldy ceiling in shower room Rm 321
Investigate Plumbing - Check for source of leak | 2019-06-12 10:42 | EVELYN GARDENS | WJ67BK1- Please investigate damp on bottom side of door frame. Kitchen sink is next to the place where the damp patch is | Comments from tradesperson: Investigated and find two blocking drainage and one hoopa overflow outside the kitchen with lots of water, clean drainage and reported back to reception
Investigate Decorating - Decorate/make good and paint | 2019-06-18 14:34 | CHARING CROSS | b06 - Paint make look good eggshell paint = wall damaged by damp, scrub it and paint + paint small wall underneath the window +shower skirting board | Cleaned and painted. left in good condition.
Investigate Plumbing - Other | 2019-06-24 16:27 | SOUTH KENSINGTON | Repair and paint damp area by toilet unit Rm 024 | Checked and no sigh of damp that needs painting job comp
Investigate Plumbing - Pipe leaking | 2019-06-26 09:41 | CHARING CROSS | Wall by the switch damaged - to be fixed | Investigation of damp near light switch, check around switch area ,check outside wall ,check about in room for leak, check kitchen above where pipe work is ,For further Investigation the wall around the light switch would have to be open by Projects.
Investigate Decorating - Decorate/make good and paint | 2019-06-28 09:52 | SOUTH KENSINGTON | Repair and paint mouldy ceiling in shower room - Rm 405 & 406
Investigate Decorating - Decorate/make good and paint | 2019-07-08 12:17 | SOUTH KENSINGTON | Make good and paint mouldy shower room - Rm 104 | Wash down area with black mould cleaner and rinse off. Spot up marks. Applied x2 coats mouldshield eggshell to affected area’s.
Investigate Decorating - Decorate/make good and paint | 2019-07-09 14:14 | SOUTH KENSINGTON | Make good and paint mouldy shower room - Rm 246 | Guest in room cannot carry out works due to this, so defect to be close at zero value and new defect to be raised once people have left!!
Investigate Mechanical - Extract fan | 2019-07-16 12:48 | ST MARYS | 222 and 223: Mouldy ceiling please check bathroom fans | Collected key for both rooms checked both extract fan both mechanical paddle levers open and fans working return key
Investigate Decorating - Decorate/make good and paint | 2019-07-18 13:10 | SOUTH KENSINGTON | Make good and paint ceiling - Rm 305 | Wash down ceiling with black mould cleaner and rinse off. Scraped off loose paint and blisters,Made good with filler x2 fills sand spot up. Applied x2 coats Dulux mouldshield Matt.
Investigate Carpentry - Other | 2019-07-23 10:56 | EVELYN GARDENS | Please investigae dampness on 67 Willis Jackson Common Room walls caused by leaks from dislocated hopper and possibly blocked guttering | Comments from tradesperson: Investigation of damp on walls in common room, check guttering and pipe works , According to ABBU (RPS ) has attended the Job take measurements and will be replacing all the pipe work on that wall ,So please close this Defect
Investigate Plumbing - Pipe leaking | 2019-08-07 12:42 | EVELYN GARDENS | Room WJ69B1-Please investigate water leaks on to carpet as some tiles are wet. Please investigate damp on bottom wall of shower | Investigation of leak, remove access panel and check all pipe work, remove all access inside shower cubicle and check, check behind shower cubicle, cut access in damage wall and check for leak ,run all taps and check waste and waste pipe for leak, leak found and fix.
Investigate Carpentry - Other | 2019-08-09 12:50 | EVELYN GARDENS | Following defect 467946- please replace section of skirting board following damp and make good section of wall outside shower where paint is peeling of | Remove broken skirting, cut to size new board, painting with primer two coats, install on place and make good, cut to size and glue new carpet tiles, clean up
Investigate Plumbing - Other | 2019-08-13 11:53 | EVELYN GARDENS | SW543MK1 kitchen investigate and fix damp mark on wall above sink | Checked in kitchen all pipe work, checked all pipe work for room above, in bathroom above kitchen. Checked plant room above open hatch and found pipe going through roof when rain water comes down through roofing into bathroom. Have given photos to John, this job is to be paased on to the roofer.
Investigate Decorating - Remove mould | 2019-09-11 15:49 | EVELYN GARDENS | Room HB6222- HB6223 Please make good small sections of windows following carpentry works | Carlos- PREPARED AREA, FILLED, SANDED, PAINTED. 1LTR WHITE 05 KG FILLER.
Investigate Building Fabric - Wall damaged | 2019-09-17 11:18 | EVELYN GARDENS | WJ67B1- Damp patch on bottom side of shower wall - please investigate and remedy- shower strainer missing- | Investigation of damp patch on wall, check all hot and cold water pipe fittings and joints, check all waste pipe works , no leak found
Investigate Decorating - Decorate/make good and paint | 2019-09-22 13:41 | EVELYN GARDENS | WJ68B3- Please make good external section of wall by window to prevent dampness | made good as requested
Investigate Decorating - Decorate/make good and paint | 2019-09-22 13:42 | EVELYN GARDENS | WJ68B2- Please make good external section of wall by window to prevent dampness | made good as requested
Investigate Decorating - Decorate/make good and paint | 2019-09-23 15:43 | SOUTH KENSINGTON | fal 415 - paint shower ceiling | Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2019-09-23 15:44 | SOUTH KENSINGTON | sel 369 - paint shower ceiling | Wash down ceiling with black mould cleaner and rinse . Spot up marks. Applied x2 coats Dulux mouldshield. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2019-09-23 15:45 | SOUTH KENSINGTON | sel 268 - paint shower ceiling | Wash down with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2019-09-23 15:49 | SOUTH KENSINGTON | sel 267 - paint shower ceiling | Protected area. Wiped down ceiling. Spot up marks. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe
Investigate Decorating - Decorate/make good and paint | 2019-09-23 15:51 | SOUTH KENSINGTON | se274- paint shower ceiling | Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 Mouldshield Matt. Left site clean and safe.
Investigate Building Fabric - Other | 2019-09-25 14:26 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 401 | Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 Dulux mouldshield eggshell. Left site clean and safe.
Investigate Building Fabric - Other | 2019-09-25 14:29 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rms 004 & 003 | Protected area. Wash down ceilings with black mould cleaner and rinse off. Applied x2 Dulux mouldshield eggshell x2 ceilings. Left site clean and safe.
Investigate Building Fabric - Other | 2019-09-25 14:31 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 008 & 005 | Protected area. Wash down ceilings with black mould cleaner and rinse off.. Spot up marks. Applied x2 coats Dulux mouldshield eggshell x2 ceilings. Left site clean and safe.
Investigate Building Fabric - Other | 2019-09-25 14:34 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower room Rm 001 | Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x1 coat Dulux mouldshield eggshell. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2019-10-10 12:47 | EVELYN GARDENS | SW543MK1 kitchen make good and paint section of wal above sink after damp mark | Prepared area scraped & filled & sanded and painted then cleaned up 0.5 filler 2ltr of Jasmine white.
Investigate Plumbing - Water leaking/dripping from ceiling | 2019-10-17 13:42 | ST MARYS | House 76 Level 3: investigate and report back on the cause of water marks appearing on the ceiling just outside room 76301. Also, check ceiling crack in this room by the entrance. Might be due to the same cause. Please note this is the top floor and there is a skylight window and an access panel in the area. | Investigation of damp on ceiling outside 76301 and cracked on ceiling inside room ,have check and job should be PASS TO THE ROOFERS
Investigate Mechanical - Extract fan | 2019-10-18 11:40 | ST MARYS | House 74 bathrooms 743B01 and 741B01: Extractor fan full of dust and due to this walls are getting mould - To clean and clear in/out of dirty bathroom extractor fan, Clear | Carryout isolation of two fan in locations removed covers and impeller wash and clean inside fan unit and grills etc tested working
Investigate Mechanical - Extract fan | 2019-10-18 12:17 | ST MARYS | House 76 bathrooms 763B01 and 761B01: Extractor fan full of dust and due to this walls are getting mould - To clean and clear in/out of dirty bathroom extractor fan, Clear | Carryout cleaning of two fans as requested to isolated remove covers and wash and clean removed impellier wash and clean body of fan reassemble test working
Investigate Roofs - Roof leaking | 2019-10-24 14:35 | ST MARYS | House 76 Level 3: investigate and report back on water marks found on the ceiling just outside room 76301. Also, check ceiling crack in this room. Please note this is the top floor and there is a skylight window and an access panel in the area. | Investigation of damp on ceiling outside 76301 and cracked on ceiling inside room ,have check and job should be PASS TO THE ROOFERS RPS - works exceed defect value MNW requested
Investigate Decorating - Decorate/make good and paint | 2019-10-25 09:36 | SOUTH KENSINGTON | Make good and paint mouldy ceiling - S4.15 | Protected area. Wash down ceiling and walls with black mould cleaner and rinse off. scraped off loose paint and blisters. Raked cracks . Made good with filler x2 fills sand spot up. Applied x2 coats diamond eggshell. Left site clean and safe.
Investigate Building Fabric - Other | 2019-10-30 13:05 | CHARING CROSS | B11 bedroom investigate potential damp damage to ceiling | We have checked couldn’t find any fault, I have advised to put a dehumidifier in room to try get damp out of room and to keep a check if it get any worse.
Investigate Building Fabric - Wall damaged | 2019-11-01 10:45 | EVELYN GARDENS | Water damage apparent above radiator underneath window. History of damp at this place and has recently had work I believe | Inspected, with my opinion need scaffolding and repointing wall under the window Minor new works to be raised
Investigate Misc. - Other | 2019-11-15 10:33 | WATERLOO | Leak is coming from guttering above 3rd floor, leaking into a room causing damp. Job will have to be carefully assessed for a fix as roof access is unavailable.
Investigate Decorating - Decorate/make good and paint | 2019-11-18 12:41 | EVELYN GARDENS | WJ68B2- Please make good section of bedroom wall next to desk affected by damp | Prepared area scrape, filled, sanded & painted Clean Tidy 2ltr Jasmine White 1kg filler
Investigate Decorating - Remove mould | 2019-11-18 12:52 | EVELYN GARDENS | WJ68B3- Please make good section of wall by window affected by damp | Prepared area scraped, filled, sanded & painted various areas 3ltr jasmine white 2kg filler
Investigate Carpentry - Other | 2019-11-18 13:02 | EVELYN GARDENS | WJ68B3- Please replace section of skirting board affected by damp and make good | Inspected and measuring, cut to size in work shop and painting with primer. Cut off old skirting board, fix and make good with silicone, clean up
Investigate Decorating - Decorate/make good and paint | 2019-11-20 12:34 | SOUTH KENSINGTON | the lower ceiling above the bar needs repainting and sealing | Works need to be quoted. Protect bars with polythene. Apply x2 coats Dulux stain block plus. Apply x2 coats Dulux mouldshield eggshell. This is 4 vists for decorating of ceiling between hours of 8:00 and finished at the lastest 11:30 am so bar can open at midday. Materials Dulux stain block plus 7.5 litres. Dulux mouldshield fungicidal eggshell 10 ltr 1 roll lightweight polythene dulux ddc . 4 hours each visit = 16 hours Please copy in David Peskett on on Quote . Raise MNW
Investigate Carpentry - Other | 2019-11-26 13:43 | EVELYN GARDENS | WJ68GK1-Please investigate damp on kitchen ceiling | Used ladder, check above ceiling, don’t find any leak, just condensation from kitchen and grease, clean up access panel and reported back to reception
Investigate Misc. - Other | 2019-11-26 14:03 | SILWOOD PARK | Big area of mould on wall inside corner cupboard to left of sink. Remove circular shelf. Clean mould and repaint area. | Removed units cleaned off wall of mould and painted
Investigate Decorating - Decorate/make good and paint | 2019-11-28 15:18 | SOUTH KENSINGTON | Wash walls & paint shower ceiling - S4.07 & S4.08 | Attended site. Protected area. Wash down with with sugar soap and rinse off x2 shower rooms ceilings and walls. Spot up marks. Applied x2 coats Dulux mouldshield eggshell x2 ceilings. Left site clean and safe.
Investigate Electrical - Other | 2019-12-11 08:44 | EVELYN GARDENS | Willis Jackson Common Room- please isolate 3 x wall sockets due to dampness on wall | Checked socket outlet s to be isolated traced identify fuse board turn off fuse and lable curciut off
Investigate Building Fabric - Other | 2020-02-17 12:49 | SOUTH KENSINGTON | Investigate damp in room and paint by desk area Rm 419 | Attended site, protected area. Moved furniture. Scraped off loose paint and blisters, raked out cracks. Seal area with pva. Made good with filler x2 fills sand spot up. Applied x2 coats Dulux stain block due stains from leak. Applied x2 coats diamond eggshell. Replaced furniture,Left site clean and safe Comments from tradesperson: Attended site, protected area. Moved furniture. Scraped off loose paint and blisters, raked out cracks. Seal area with pva. Made good with filler x2 fills sand spot up. Applied x2 coats Dulux stain block due stains from leak. Applied x2 coats diamond eggshell. Replaced furniture,Left site clean and safe
Investigate Roofs - Roof leaking | 2020-02-27 08:54 | ST MARYS | 72301: damp appeared around the window. please investigate, repair and report back to reception. FYI - This room is located on level 3 and the window leads to top floor balcony | Inspected room, check outside balcony and find block hoppers, clean up x2 and dispose
Investigate Decorating - Decorate/make good and paint | 2020-03-03 13:10 | SOUTH KENSINGTON | Make good and paint mouldy ceiling - EB.08 | Attended site, protected area. Wash down ceiling with black mould cleaner rinse off. Spot up marks, applied x2 coat dulux mould shield eggshell. Left site clean and safe
Investigate Carpentry - Other | 2020-04-15 11:55 | ACTON | B6R4 B6R7 both have mould in - check for source, make the mouldy area good, decorate | I have checked but found no faults, this could be from a old leak. Job to be passed to Zoran to paint areas with mould on. Comments from tradesperson: Finds sources of mould is leaking water from the shower,cleaned and prepared to apply painting to make it good
Investigate Carpentry - Other | 2020-04-15 12:40 | ACTON | C9R10 mould in riser - check for source, make good of mouldy area, decorate | I have checked but found no faults, this could be from a old leak. Job to be passed to X to paint areas with mould on. Comments from tradesperson: Sources of mould is leaking water from the shower , cleaned surface and prepared for painting! All done
Investigate Carpentry - Other | 2020-04-15 12:41 | ACTON | C8R5 mould in riser - check for source, make good of mouldy area, decorate | I have found no faults, the wall is dry could be from a old leak. This will need to be passed to X to paint areas with mould on. Comments from tradesperson: Sources of mould is from leaking water from the shower! Cleaned and prepared parts with a mould and painted all around affected by mould to make it good
Investigate Building Fabric - Wall damaged | 2020-05-01 11:51 | EVELYN GARDENS | Damp damage caused by blocked downpipe on rear of building. Please rectify external cause, strip internal plaster and mount and decorate board stood off from exposed bricks. Access to rear may need permission from Savills | Investigation of Damp in offices walls, Check gutter pipe work on outside wall, Check Balcony above, check Room above, Check and tested guttering from third floor down, Found broken waste pipe work on wall, Found waste pipe block, Clear blockage of waste pipe work, PLEASE pass to RPS.
Investigate Decorating - Decorate/make good and paint | 2020-06-01 12:56 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm EB.07 & 038 | Prepared area clean and painted various areas
Investigate Decorating - Decorate/make good and paint | 2020-06-01 12:57 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 212 & 154 | Prepared area filled and sanded and painted clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-06-01 12:57 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 153 & 150 | Clean and painted bathroom ceiling
Investigate Decorating - Decorate/make good and paint | 2020-06-01 12:58 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 120 & 105 | Prepared area filled and sanded and painted clean tidy
Investigate Decorating - Decorate/make good and paint | 2020-06-01 12:58 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 257 & 005 | Clean and painted bathroom ceiling and cleaned
Investigate Decorating - Decorate/make good and paint | 2020-06-25 13:34 | SOUTH KENSINGTON | treat for mould, make good and paint walls after the leak (attend on 9th July) | Prepared area scrape filler and sanded and painted various areas clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-07-15 08:24 | SOUTH KENSINGTON | Make good and paint ceiling after leak - Rm 129 | Prepared area repaired ceiling after damp put piece of plaster board filler sanded and painted clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-08-11 10:20 | SOUTH KENSINGTON | Make good and paint mouldy window area in bathroom & shelf - Rm 203 | Prepped area scrape and filler and sanded and painted various areas clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-08-11 10:25 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 210 & 220 | Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats dulux mould shield eggshell. Left site clean. Materials Dulux 1.5 Lt Mould shield eggshell 300 ml Black cleaner
Investigate Decorating - Decorate/make good and paint | 2020-08-11 10:25 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 254 & EB.05 | Protected area, wash down ceiling with black mould cleaner and rinse off. Spot up marks, and applied x 2 coats dulux mould shield eggshell. Left site clean and safe. Materials 1.5 Lt dulux mouldshield eggshell 300ml black mould cleaner
Investigate Decorating - Decorate/make good and paint | 2020-08-11 10:25 | SOUTH KENSINGTON | Mouldy bathroom ceiling - EB.06 & EB.09 | Protected area wash down ceilings with black mould cleaner, rinse off spot up marks. Applied 1 coat dulux mouldshield eggshell Materials Dulux Mouldshield eggshell 1.5 Lt Black Mould Cleaner 300ml Comments from tradesperson: Attended site. Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield eggshell x2 ceilings. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-08-11 10:26 | SOUTH KENSINGTON | Mouldy bathroom ceiling - EB.11 | Protected area washdown ceiling with black mould cleaner + rinse off. Spot up marks applied 1 coat. Dulux mould sheild eggshell Materials Dulux Mouldsheild eggshell 1 lt Black Mouldcleaner 25gr
Investigate Decorating - Decorate/make good and paint | 2020-08-11 14:03 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 039 & 044 | Protected area Wash down ceiling with black mould clean. Rinse off spot up black marks. Applied x2 coats dulux moulds shield eggshell. left site clean and safe Materials 1.5 lt dulux mouldshield eggshell 300ml black mould cleaner.
Investigate Decorating - Decorate/make good and paint | 2020-08-14 12:15 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 104 & 112 | Protected area, wash down ceiling with black mould cleaner and rinse off. Spot up marks, applied x 2 coats dulux mouldshield eggshell. Left site clean and safe. Materials 1.5Lt dulux mouldshield eggshell 300ml black mould cleaner
Investigate Building Fabric - Check ceiling following leak | 2020-08-17 12:00 | EVELYN GARDENS | large damp/stain on ceiling, we checked rooms above. urgent please | Investigation of stained on ceiling, Check gutters above room, check and tested pipe work in rooms above, no leak found, Required further investigation, Ceiling needs to be open to check.
Investigate Building Fabric - Ceiling damaged | 2020-08-17 17:19 | EVELYN GARDENS | ceiling need to cut out for further investigation...please inform once done so.. -------------------------------------------------------------------------------- large damp/stain on ceiling, we checked rooms above. urgent please | Investigate, used ladder, cut hole on two ceiling, find rotten wood around, need seal and painting small roof above, Reported back to X because unsafe to working outside
Investigate Mechanical - Ventilation not working | 2020-08-20 14:22 | ST MARYS | Annexe ground floor rooms, please check ventilation in bathrooms if set correctly, air flow rate and adjust if necessary as most of the ground floor bathrooms are getting mouldy. | Inspected, check all room and it’s extract working but not strong enough, maybe need good services AHU from PPM to working better or BMS increase the flow and with my opinion the extract fan it’s to low from the ceiling and stem stays above and creating mould Reported back to X
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:35 | ST MARYS | G01 and G02- make good, apply stain/mould blocker and paint bathroom ceiling | Prepared area cleaned and painted
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:37 | ST MARYS | G03 and G05make good, apply stain/mould blocker and paint bathroom | Prepared area cleaned filler sanded and painted clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:37 | ST MARYS | G06 and G09- make good, apply stain/mould blocker and paint bathroom | Prepared area cleaned and painted various areas
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:39 | ST MARYS | G10 and G11- make good, apply stain/mould blocker and paint bathroom ceiling (G11 walls also in the bathroom) | Prepared area cleaned and painted various areas clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:40 | ST MARYS | 105 and 117- make good, apply stain/mould blocker and paint bathroom ceiling | Prepared area cleaned and painted various areas
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:41 | ST MARYS | 120 and 123- make good, apply stain/mould blocker and paint bathroom ceiling | Prepared area cleaned and painted various areas
Investigate Decorating - Decorate/make good and paint | 2020-08-20 14:41 | ST MARYS | 225 and 303- make good, apply stain/mould blocker and paint bathroom ceiling | CPrepared area cleaned and painted various areas
Investigate Decorating - Decorate/make good and paint | 2020-08-21 14:19 | SOUTH KENSINGTON | Make good and paint ceiling and walls after leak - Rm 104 | Attended site, protected area. Scraped off loose paint and blisters. Sand down. Seal area with stain block plus due to stains from leak . Made good with filler x2 fills sand spot up. Applied x2 coats diamond Dulux mouldshield eggshell ceiling and walls. Left site clean andsafe.
Investigate Decorating - Decorate/make good and paint | 2020-08-25 09:19 | SOUTH KENSINGTON | tizard 133 selkirk 166 paint shower ceiling | Attended site, protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. X2 ceilings. Left site clean and safe.
Investigate Building Fabric - Other | 2020-09-03 14:32 | SOUTH KENSINGTON | Make good and paint bathroom ceiling Rm 404 | Attended site, protected area, wash down and rinse off ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield eggshell. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-09-08 15:21 | SOUTH KENSINGTON | tizard M46- paint ceiling in shower | Attended site, protected area, wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-09-08 15:23 | SOUTH KENSINGTON | falmouth 308 - paint shower ceiling selkirk 376 -* paint shower ceiling | Attended site. Protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-09-08 15:26 | SOUTH KENSINGTON | falmouth 413- 416- paint shower ceiling - + small bits | Attended site, protected area. Wash dow ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. X2 ceilings. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-09-14 13:15 | SOUTH KENSINGTON | Mouldy bathroom ceiling - AssWarden Flat 420 | Attended site, located defect, protected area. Wash down ceiling and walls with black mould cleaner and rinse off. Made good small area with filler x2 fills sand spot up. Spot up marks on ceiling. Applied x2 coatsDulux mouldshield Matt walls . Left site clean and safe.
Investigate Building Fabric - Other | 2020-09-15 15:07 | SOUTH KENSINGTON | Make good and paint mouldy shower room Rm 421 | rinse-off. Attended site. Protected area. Wash down ceiling with black mould cleaner and . Spot up marks. Applied x2 coats Dulux mouldshield fungicidal eggshell. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-09-17 09:52 | CHARING CROSS | Pain wall damaged by mould in G11 | Prepared area scrape and filler and sanded and painted clean and tidy
Investigate Decorating - Decorate/make good and paint | 2020-10-05 09:16 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - Rm 027 | Attended site, located, protected area. Wash down ceiling with black cleaner and rinse. Applied x2 coats Dulux stain block plus for stains on ceiling. Applied x2 coats Dulux mouldshield eggshell, this should inhabit mould growth. Left site clean and safe.
Investigate Building Fabric - Wall damaged | 2020-10-27 15:51 | ST MARYS | 34G03 - damp issue by window nearest to door. Assess severity and make good. | Inspected, investigate, find toilet above window dripping after flush, recommended to close toilet, sub job for plumber to reseal flush pipe from the tank
Investigate Decorating - Decorate/make good and paint | 2020-11-04 12:50 | SOUTH KENSINGTON | paint shower ceiling | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Seal stains with stain block plus x2 coats. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Plumbing - Water leaking/dripping from ceiling | 2020-11-04 15:46 | ST MARYS | Dampness noticed in the ceiling/walls, discolouration around the area, please investigate, please call me if any confusion, | CB Note 22/12 - Operative has attended, attended site to investigate dampness on ceiling/wall on arrival found damp patch on ceiling and wall got access onto roof through sky light on the roof both sides of the pitched roof had a valley in the valley was full of water checked hopper and down pipe both are clear cleared the valley and found just where it drops through to hopper the lead has a major back fall before it goes into hopper causing water to accumulate. Engineers attended site to inspect the damp and found its related to a roofing problem. I have arranged for roofers to attend site and investigate further and will keep you updated. Please note our engineers have cleared the water and moss from the area whilst on site. CB Note 22/12/20 - Spoken with RPS, said they have been to this job, worksheet was sent on a Sunday so must have been lost within trail, resending today. Ruben to close.
Investigate Roofs - Roof leaking | 2020-11-06 13:22 | CHARING CROSS | Attended and investigated. Please raise sub for X -------------------------------------------------------------------------------------------------------------------- sign s of dampness on the ceiling of the toilet in the basement of House 32 next to the plantroom | Assign to NSS Will - Works will exceeds defect value, quote requested, please raise MNW
Investigate Decorating - Decorate/make good and paint | 2020-11-19 11:26 | SOUTH KENSINGTON | m42 and M72- paint shower ceilings | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Seal stains with Zinssers stain block. Spot up. Applied x2 coats Dulux mouldshield Matt. X2 ceilings. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-11-19 12:10 | SOUTH KENSINGTON | tizard 240 - paint shower ceiling | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse. Seal stains with zinsser 123 . Spot up. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-11-25 10:45 | SOUTH KENSINGTON | tz LG31- shower ceiling | Attended site, located, protected area. Wash down ceiling with blackmould cleaner and rinse off. Spot up stains with stain block plus. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-11-25 10:46 | SOUTH KENSINGTON | keogh M91 - PAINT SHOWER Ceiling | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-11-25 10:47 | SOUTH KENSINGTON | keogh M93- paint shower ceiling | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up stains with sealer. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Decorating - Decorate/make good and paint | 2020-11-25 10:49 | SOUTH KENSINGTON | sel 263- paint shower ceiling | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Seal with x2 coats stain block plus. Applied x2 coats Dulux mouldshield Matt. Left site clean and safe.
Investigate Plumbing - Check for source of leak | 2020-11-25 14:44 | WATERLOO | Please check the source of water ingress in room 229 | Investigate damp on wall, there is no pipe leak, Looks like rain water going through wall , I have open the vent above window for air to come in and out of room.
Investigate Plumbing - Check for source of leak | 2020-11-25 15:35 | EVELYN GARDENS | HB6231 toilet, please see pic, Check for source of leak | Investigate damp and water marks on ceiling, found out that fan in bathroom not working.
Investigate Decorating - Decorate/make good and paint | 2020-12-07 16:55 | ST MARYS | 34301 - A lot of paint is coming away from the walls. Looks like damp damage? Room is unoccupied.
Investigate Plumbing - Sink leaking | 2021-01-04 13:26 | SOUTH KENSINGTON | 461- subwarden - mould under kitchen sink - please investigate | Investigated reason for mould under kitchen sink, found tap to be leaking. Need to fit new tap, isolated and removed faulty tap, replaced with new one and tested. All ok
Investigate Decorating - Decorate/make good and paint | 2021-01-11 09:07 | SOUTH KENSINGTON | Paint mouldy window frame - Rm 428 | Attended site, located, protected area, moved furniture, took down curtains & secondary glazing panels. Wash down criittle windows , secondary glazing and walls with sugar soap and rinse off then wipe down down with black mould cleaner. Treat area’s with black mould inhibitor leave to dry. Replaced glazing panels and furniture ,rehung curtains, r Left site clean and safe.
Investigate Plumbing - Other | 2021-01-14 11:50 | SOUTH KENSINGTON | Dump issue - possible leak from ceiling - Rm 428 | Investigated cause of damp problem, found dimplex heather not on high enough setting and ch radiator was causing condensation in cold spot near window, turned up dimplex and checked for heat. All ok
Investigate Decorating - Remove mould | 2021-01-29 14:54 | CHARING CROSS | Can you please remove mould in the H28 communal bathroom from its ceiling. Thank you | Prepared area scrape and filler and sanded and painted clean and tidy
Investigate Building Fabric - Wall damaged | 2021-02-19 12:28 | ST MARYS | 50G02 - Rising damp on wall behind cupboard and desk causing mould and crumbling plaster. 1)Clean areas of any mould, 2) Find cause and action as necessary. Make good any damage to plaster and paintwork. | Prepared area scrape and filler and sanded and painted clean various areas clean and tidy
Investigate Carpentry - Other | 2021-02-23 16:58 | ST MARYS | 50G02- please remove headboard so hall staff can inspect wall behind it and then put it back in place FAO | Inspected, assisted with hall supervisor on warden flat, to removed box from the wall to check dump behind, find green mould groin, sided back front panel
Investigate Plumbing - Pipe leaking | 2021-03-01 17:18 | CHARING CROSS | Please investigate cause of water leak in the bedroom, and the exterior part of the wall is damp as well, please investigate... | Radiator was found leaking from flow valve. I isolated the radiator and took, further works required. Assigned to Matthew Comments from tradesperson: Investigate and found leak coming from radiator in Room above, Leak on radiator is fix.
Investigate Carpentry - Other | 2021-03-23 10:29 | EVELYN GARDENS | take measurements on damp room WJ common room with the moisture meter | Inspected, collected dump meter from reception and tested around, all report pass to X
Investigate Decorating - Decorate/make good and paint | 2021-04-14 11:20 | SOUTH KENSINGTON | tz lg35 - paint shower ceiling | Attended site, located area, wash down ceiling with black cleaner and rinse off, spot up stains with stain block, applied x 2 coats dulux mouldshield matt. Left area clean and safe.
Investigate Decorating - Decorate/make good and paint | 2021-04-14 11:20 | SOUTH KENSINGTON | tizard m36- paint shower ceiling | Attended site, located defect, protected area, wash down ceiling with black mould cleaner and rinse off, seal stains with stain block, applied x 2 coats dulux mouldshield, left area clean and safe
Investigate Decorating - Remove mould | 2021-05-13 16:19 | EVELYN GARDENS | SW58B2 - Mould discovered far left corner of room. Water marks running down from wall above. | Prepared area scrape and filler and sanded and painted clean and tidy
Investigate Carpentry - Other | 2021-05-18 09:09 | EVELYN GARDENS | water leaking from the ceiling Security 17/05/2021 17:56 Holbein House Room6322 Job Ticket : 1327032. Leak from ceiling. SPIE Attended and found a cupboard in room 6333 with a hatch inside leading outside building. The hatch door was loose and flapping, door frame damp and rotten and needs urgent attention Please raise defect | Inspected, find outside heavy cover without lock, supply and install two hasp and staple and secure cover from inside
Investigate Decorating - Decorate/make good and paint | 2021-05-19 11:06 | SOUTH KENSINGTON | paint shower ceilings. Attn | Attended site, located defect, protected area. Wash down ceilings with black mould cleaner & rinse off. Seal brown stains with stain block. Spot up marks . Applied x2 coats dulux mouldshield fungicidal Matt. Left area clean and safe.
Investigate Plumbing - Check for source of leak | 2021-06-04 17:14 | ACTON | C602K Riser door in kitchen next to heater, please investigate damp marks at base. | The location was visited and the areas around the riser and there was no signs of a leak the wall wasn’t damp or wet at the e only marks. Possibly from a previous leak elsewhere that has been fixed. I will keep an eye out for any dampness.
Investigate Decorating - Decorate/make good and paint | 2021-07-12 12:30 | SOUTH KENSINGTON | Make good and paint mouldy ceiling in bathroom - Rm 405 & 409
Investigate Misc. - Other | 2021-07-16 13:21 | CHARING CROSS | Room B1 - please fit covering over area affected by damp in the room. Attn:
Investigate Building Fabric - Other | 2021-07-27 14:14 | SOUTH KENSINGTON | Make good and paint mouldy ceiling in showeroom Rm 405 & 407
Investigate Building Fabric - Other | 2021-07-29 10:30 | SOUTH KENSINGTON | Make good and paint mouldy ceiling in showeroom Rm 305
Investigate Decorating - Remove mould | 2021-07-29 14:52 | ACTON | C1502K Mould on ceiling and walls on right side above cupboards and extractor fan
Investigate Building Fabric - Other | 2021-08-04 09:59 | SOUTH KENSINGTON | Make good and paint mouldy ceiling in shower room Rms 005 & 006 | Attended site, located defect, protected area. Wipe down ceiling with black mould cleaner and rinse off. Spot up black marks with sealer. Applied x2 coats dulux mouldshield eggshell x2 ceilings . Left area clean and safe.
Investigate Decorating - Decorate/make good and paint | 2021-08-04 12:21 | SOUTH KENSINGTON | keogh M90 keogh M93 PAINT SHOWER CEILING | Attended site, located defect, protected area. Wipe down ceilings with black cleaner and rinse off. Seal up marks with stain block and spot up. Applied x2 coats Dulux Mouldshield Matt x2 ceilings. Left area clean and safe. No charge on material, taken from Spie Stock
Investigate Decorating - Decorate/make good and paint | 2021-08-04 12:24 | SOUTH KENSINGTON | keogh G95 - paint shower ceiling - fao | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Seal stains with stain block. Spot up. Applied x2 coats Dulux Mouldshield Matt to ceiling. Left area clean and safe. No charge on material, taken from Spie Stock
Investigate Plumbing - Check for source of leak | 2021-08-04 12:52 | ST MARYS | Please investigate damp patch located H48 from ground staircase towards to basement | Investigate leak, Open access to toilet Cistern,flush and check for leak, Check sink waste and pipe work for leak, Open access to shower tray waste to check for leak, Turn shower on and shower waste block, Unblock shower.
Investigate Building Fabric - Other | 2021-08-04 14:16 | SOUTH KENSINGTON | Make good and paint window ledges Rms 003 & 007 | Attended site, located defect, protected area. Removed secondary glazing. Wipe down windows of black mould. Scraped off loose paint and blisters. Sand. Spot prime with all purpose prime. Applied x2 eggshell x2 crittall windows. Replace 2 glazing. Left area clean and safe.
Investigate Building Fabric - Other | 2021-08-06 13:51 | SOUTH KENSINGTON | Make good and paint mouldy ceiling in shower room Rms 025, 026 | Attended site, located defect, protected area. Wipe down ceiling’s with black mould cleaner and rinse off. Seal stains with stain block & spot marks. Applied x2 coats mouldshield Matt x2 ceilings. Left area clean and safe. Stock taken from Spie Stock
Investigate Building Fabric - Other | 2021-08-06 13:55 | SOUTH KENSINGTON | Make good and paint mouldy ceiling in shower room & by book shelf Rm 039 | Attended site, located defect, protected area. Moved furniture. Wash down ceiling with black mould cleaner and rinse off. Spot up marks . Applied x2 coats dulux mouldshield fungicidal Matt ceiling. Applied x2 coats diamond eggshell to area’s off wall. Replace furniture . Left area clean and safe. **no charge on material, stock used from Spie Stock**
Investigate Building Fabric - Other | 2021-08-06 14:04 | SOUTH KENSINGTON | Make good and paint stained area in shower room & by bedside Rms 023 & 024 | Attended site, located defect, protected area. Moved furniture. Shower room. Wash down ceiling with black mould cleaner and rinse off. Spot up marks with stain block. Applied x2 coats dulux mouldshield fungicidal Matt ceiling. Left area clean and safe. Bed room. Made area with filler x2 fills sand up with vinyl Matt. Applied x2 coats diamond eggshell wall. Left area clean and safe.
Investigate Building Fabric - Other | 2021-08-06 14:13 | SOUTH KENSINGTON | Make good and paint window frame and spotty area in room Rm 044 | Attended site, located defect, protected area . Move furniture .Scraped off loose paint. Removed adhesive tape. Made area with filler x2 fills sand up with vinyl Matt. Applied x2 coats diamond eggshell wall. Removed secondary glazing panels. Wipe down windows with mould cleaner and rinse off. Replace secondary glazing panels and furniture. Left area clean and safe. Return to workshop to clean tools and equipment. Stock used from Spie Stock
Investigate Decorating - Remove mould | 2021-08-12 09:52 | ACTON | GF laundry room, possible mould on left and right hand side of entrance door | Prepared area cleaned and painted various areas
Investigate Decorating - Decorate/make good and paint | 2021-08-16 11:58 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 026 | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse off. Spot up marks with stain block. Applied x2 coats Dulux mouldshield Matt. Left area clean and safe.
Investigate Decorating - Decorate/make good and paint | 2021-08-18 15:14 | SOUTH KENSINGTON | selkirk 561- paint shower ceiling - fao | Attended site, located defect, protected area. Wash down ceiling with black mould cleaner and rinse. Seal stains with polycell stain block. Applied x2 mouldshield fungicidal Matt ceiling. Left area clean and safe. **material used from Spie stock**
Investigate Decorating - Remove mould | 2021-09-03 14:01 | ACTON | C602K remove mould around riser cupboard and redecorate | prepared area, scraped filled and painted, cleaned up after
Investigate Plumbing - Check for source of leak | 2021-09-13 13:29 | EVELYN GARDENS | SW5313 bedroom check source of damp on wall by window. | Attended and investigate, found waste pipe on exterior wall with defective joint.
Investigate Decorating - Decorate/make good and paint | 2021-10-04 08:46 | SOUTH KENSINGTON | Clean and paint mouldy ceiling in shower cubicle - Rm 405 | Operative carried out works as per request, checked over all good.
Investigate Plumbing - Shower tray leaking | 2021-10-08 10:21 | ST MARYS | 481B01 - possible shower tray leakage. There is a damp patch in the stairwell directly below which suggests a slow leak. no damage in adjacent bedroom so far. | attended, fixed leak, tested, all ok.
Investigate Decorating - Decorate/make good and paint | 2021-10-13 08:47 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 405 | Work has been completed - left area tidy
Investigate Decorating - Decorate/make good and paint | 2021-11-02 12:03 | SOUTH KENSINGTON | Make good and paint mould ceiling in bathroom - Rm 405 | Prepared area clean and painted
Investigate Cleaning - Additional cleaning request | 2021-11-04 11:43 | SILWOOD PARK | William Penney 1 bedroom 3 Black mould under desk - needs a deep clean FOR NOONAN please
Investigate Decorating - Remove mould | 2021-11-05 16:38 | ST MARYS | G10 - En-suite bathroom has lots of mould upper walls and ceiling. | Prepared area clean and painted various areas
Investigate Carpentry - Door damaged | 2021-11-23 10:57 | ST MARYS | 46BB01 - door frame looks like it has damp/rot damage. Check and action accordingly. | Investigate, and find leaking from the toilet 46BB02 see picture attached, need subjob for plumber to fix the leak
Investigate Decorating - Decorate/make good and paint | 2021-11-23 10:59 | ST MARYS | 46BB01 - old water/damp damage to paintwork by W.C. check and make good | Prepared area scrape and filler and sanded and painted clean and tidy
Investigate Decorating - Decorate/make good and paint | 2021-11-24 12:23 | SILWOOD PARK | SW2 Store room, Paint ceiling following water leak and mould growth. | Cleaned off ceiling of all mildew stained blocked x2 coats and emulsioned x3 coats
Investigate Decorating - Remove mould | 2021-12-22 13:44 | WATERLOO | room 235 has mould in areas around the room, please investigate. | Mould is cleaned of the walls and it’s locking nice and tidy. It’s all washed. Comments from tradesperson: Mould is cleaned of the walls and it’s locking nice and tidy. It’s all washed.
Investigate Misc. - Other | 2022-01-28 12:53 | SOUTH KENSINGTON | leak or excessive condensation around windows in B48 | Attended room B48 to investigate leak by window. Found no signs of water damage to frame, top of skirting LHS has mould indicating cold spot in the room. “Yes there is no leak , and at the moment no condensation, investigated and found that the student is not closing the window properly , need to turn handle downwards not up. Otherwise window doesn’t seal and cold air comes in together with the heat of the radiator will cause condensation on the window. Have left a slip in the students room explaining this.”
Investigate Building Fabric - Wall damaged | 2022-01-28 16:29 | EVELYN GARDENS | Areas of damp that may be residual from resolved external drainpipe problems need inspection and plan for restoration of finish. | Attended this job and investigated!There is a pill off wall and paint is swollen, of the dump and soaking wet wall probably from outside in reception areas,kitchen left side areas and waiting room area on the right side on the wall from the entrance. Need to be properly painting. There is no leaks surface is dry, from outside is looking like gutters are cleaned . This is-painting and decorating job needs to be done. Monday, 14 February 2022 14:55 This is quotation job for painting and decorating. All pipes are gutters outside are repaired and leaks are dry so they need to be paint and decorate. Need to be quotes for this job! I attached the picture from inside and outside wall in the building and reception, kitchen and waiting room. 31/08/22 this issue is to be sorted by external contractor
Investigate Decorating - Remove mould | 2022-02-02 08:12 | ACTON | C404B - mould on the ceiling above blinds | Clean and remove the mound scratch a little bit and fill sand and paint
Investigate Misc. - Other | 2022-02-08 10:31 | CHARING CROSS | Room 111 h 30: mould on the walls. Please see students comments: My room is 1.11. If you enter the room and keep going straight until you get to the bed, you can turn to the right and find the mould on the corner and wall. Thank you.
Investigate Decorating - Remove mould | 2022-02-21 14:34 | CHARING CROSS | Room 111 - please make good area affected by damp | Prepared area scrape and filler and sanded and painted clean and tidy
Investigate Roofs - Roof leaking | 2022-04-04 17:04 | EVELYN GARDENS | SW5842 bedroom to fix leak from roof after attempt from plumber to fixed with foam, leak still on as damp marks are visible now in the room. | X to attend on 10/10/22- to investigate if works have been completed, if not need to action. Awaiting roofing company eta 09/11/22 Confirms, Target Building Services dealing with it 21/12/2022 Target Building to investigate on the 23/12/2022 = SR514232 - WO5483110 MX74811 03/01/2023 = Target Building have attended waiting for report. Report from Target Roofs = Further to our site visit we are pleased to submit our Report to the above. consisting of as follows, Investigation Report Room SW5842. We attended site to investigate a leak to the above room as requested and after gaining entry to the room with the halls supervisor we surveyed the room for water damage, and it was apparent that there was no damage to room at all. We took internal photos of the room to show this. We gained access to the external rear garden to look at the roof above from ground level and noticed that there is a vent pipe protruding from the roof directly above the room and also noticed that the roof tiles are in poor condition to this area and would need to be investigated further to see if they are causing water ingress. The roof condition of this building has been mentioned before in previous reports and can only be accessed by way of a fixed scaffold due to the height of the property. We trust this meets your requirement. Please note that no quote can be submitted at present as there was no visible damage to the room and we await your further instructions. Email sent to X as several defects require scaffolding. We are waiting on X's response on how he would like to proceed.
Investigate Mechanical - Extract fan | 2022-04-26 08:19 | ST MARYS | 217 - extractor fan not working. | Inspected, get access to flat roof with AHU location, tested and find power going through but motors no running, no tester, need more investigate. 24/05/22 Sanper- X-Tested supply from motor. There is a supply but motors are not running. This needs a mechanical engineer to spend some e and taking it apart or new motor. 13-6-22 - Mechanical contractor required - please send to Brownings. Friday, 24 June 2022 14:18 : Checked fan on roof, working, damper lever in raiser cupboard was restricting air flow
Investigate Decorating - Decorate/make good and paint | 2022-05-04 15:28 | SILWOOD PARK | Bf both bathrooms. Clean away mould on wall and ceiling and repaint | Washed down walls to remove all mildew then filled rubbed down and painted x2 coats on both walls in bathrooms
Investigate Decorating - Decorate/make good and paint | 2022-06-06 13:42 | SOUTH KENSINGTON | Make good and paint mouldy bathroom ceiling - Rm 410 | Painted mouldy bathroom ceiling. All done and fine.-Mo 09/06/22
Investigate Decorating - Decorate/make good and paint | 2022-06-20 11:37 | SOUTH KENSINGTON | Make good and paint mouldy bathroom ceiling - Rm 209 | Issue with resolved with anti mould paint- (Make good and paint mouldy bathroom ceiling - Rm 209). 25/07/22 Admin Comp
Investigate Building Fabric - Other | 2022-06-22 11:28 | SOUTH KENSINGTON | Paint bathroom shelves | I have investigated the task and to source the right paint to complete the job 18/08/22 Sanper-Treated mould on bathroom shelf and paint 18/08/22 Admin Comp
Investigate Decorating - Decorate/make good and paint | 2022-07-05 13:32 | EVELYN GARDENS | SW6043 - Window frame is mouldy and deteriorated. Needs painting. | Traded window frame with mould cleaner and painted. Used a tin of Zinzer and Mould paint
Investigate Decorating - Remove mould | 2022-07-18 12:51 | ST MARYS | G08 - mould in bathroom cubicle. Clean and re-paint
Investigate Building Fabric - Other | 2022-07-22 10:44 | SOUTH KENSINGTON | Make good and paint mouldy bathroom ceiling | Returned to room 110 to finish making good painted ceiling with mould resistant paint. All ok Admin comp
Investigate Decorating - Remove mould | 2022-08-02 09:52 | ST MARYS | 111 - check for mould following cistern leak and make good.
Investigate Building Fabric - Wall damaged | 2022-08-10 13:14 | ST MARYS | Room 50G02 - paint peeling off in section of by dsek and near bathroom wall. Please investigate source of dampness and remedy. | 15/028/22 -Mobile Team- Sanded off wall near desk and painted -job completed. 15/08/22 Admin Comp
Investigate Decorating - Remove mould | 2022-08-17 16:03 | ST MARYS | G06 bathroom Ceiling - remove mould and make good | Attended job - applied mould,made good painting and all ok. Material supplied by ICL 23/09/22 Admin Comp
Investigate Decorating - Decorate/make good and paint | 2022-08-19 14:55 | ST MARYS | Please make good bottom section ofwalls on either side of the toilet that is stained | 20/09/22-Make good -paint mould damage to bathroom 21/09/22 Admin Comp
Investigate Building Fabric - Other | 2022-08-26 11:49 | SOUTH KENSINGTON | Paint bathroom shelves Rms 024, 025 & 027 | 31/08/22 Has been made good shelves with mould cleaner & paint ( Zinser)- Admin coomplete
Investigate Plumbing - Other | 2022-08-26 13:14 | SOUTH KENSINGTON | Investigate and fix source of damp on wall in the corridor outside room LG62 | I attended the job investigate the situation not faulty found
Investigate Decorating - Decorate/make good and paint | 2022-09-02 12:44 | ST MARYS | Music Room- please scrape, fill and paint ceiling in Music Room following leak | 18/10/22 Mobile Team-Found that the ceiling in the Music Room. Needs a full redecoration. All paint blown on and ceiling and crack. This will need a subcontractor all the blown paint to be removed ceiling will have to be plastered and treated due to damp. Client has informed this is on hold until the Plant Room above floor is been repaired where the leak comes from 22/12/2023- Engineer investigating if job has been completed. 10/01/2023 X to Follow up 13/01/2023 - Engineer to attend w/c 16th January 24/01/2023 Engineer investigated and spoke to the Hall Supervisor Ryan Wilson who agreed because of the nature of the job it needs to closed and reopened in the summer for a Subcontractor to attend. Please close this job to be reponed in the summer. 27/01/23 - Scheduled attendance for 31/01/23
Investigate Building Fabric - Ceiling damaged | 2022-09-07 14:27 | ST MARYS | Rooms G06, G08,G09, 209, 211, 303, 302 and 305- Bathroom extractor fans not working properly and causing damp to ceiling and walls. Please investigate the toilet extract ventilation system in the Annexe building and remedy. X from FM was on site and recommended thsi needs to be actioned. | Extract ventilation system = Various Bathroom extractor fans not working properly needs further investigation by Engineer 21/11/2022 - Salisbury Engineer Investigated Bathroom extractor fans checked and completed the job. Now working. Admin Comp
Investigate Building Fabric - Wall damaged | 2022-09-07 16:04 | ST MARYS | Ticket for reattendance as per email sent Room 50G02 - paint peeling off in section of by dsek and near bathroom wall. Please investigate source of dampness and remedy. | Attended site-Hall warden confirmed to Steven job is being undertaken by X. Job could not be done 30/09/22 Applied filler, stain black and paint walls Material used- 5Litre Dulux 16/09/22 Admin Comp
Investigate Plumbing - Water leaking/dripping from ceiling | 2022-09-08 13:27 | ACTON | G27- Signs of a leaking forming on ceiling next to TV at reception. Please investigate. Ceiling has recently been painted and these stains keep recurring. | Suspected water penetration which has reappeared over paint work, roof access required to carry out further investigation. 18/11/22- MX73042- Target Building services, due to attend 22/11/22 to carry out a survey. 23/11/22- The internal ceiling to the reception area has two small damp/stained patches either side of the wall mounted tv. We were informed that the ceiling had just been repainted within the last month and that these patches have appeared very recently. We were able to gain access to the flat roof above this area by an extendable ladder and noticed that there are two air/ventilation ducts coming through the roof at the same points above where the stains & water marks are. There is also a metal cowl to one of the ducts missing and not on the roof anywhere. The flat roof area is covered in stones/paving slabs and a living garden style roof. We would suggest that the paving slabs/stones and insulation to the areas surrounding the two ducts be removed and set aside to expose the actual flat roof covering and see if there are and visible areas of defects around the joints of the ducts where they are penetrating the roof. Any defects found in this area should be repaired to prevent water ingress. The missing metal cowl should be replaced to prevent water entering the ducting system. Internally the ceiling is superficial and can be stain blocked and touched into the local areas affected. Please note that this is a large flat roof and that there maybe other areas where water could be entering under the roof membrane and travelling along to the ducting and then entering the building. 23/11/22- quotation raised WO5404600, awaiting internal approval 24/11/22- Quotation submitted to the client, awaiting approval.
Investigate Building Fabric - Other | 2022-09-16 14:15 | SOUTH KENSINGTON | Re-grout mouldy shower cubicle S4.17 | Cut out all mouldy silicone, Applied new silicone to all affected areas. Job completed 26/10/22 Admin Comp
Investigate Building Fabric - Other | 2022-09-16 14:17 | SOUTH KENSINGTON | Makegood and paint bathroom ceiling Rms 407 & 410 | Attended site, located defect, protected area . Wash down ceiling with black mould cleaner and rinse off. Applied x2 coats dulux mouldshield fungicidal Matt x2 ceilings. Left area clean and safe.
Investigate Decorating - Decorate/make good and paint | 2022-09-20 12:13 | SOUTH KENSINGTON | Clean mouldy ceiling in bathroom - Rm 246 | Attended and found already completed
Investigate Decorating - Decorate/make good and paint | 2022-09-21 11:46 | SOUTH KENSINGTON | Mouldy bathroom ceiling - Rm 118 | Attended site, washed walls of mould from bathroom ceiling. Painted, affected area, 2 x coats drying e between coats 27/09/22 Admin Comp
Investigate Decorating - Decorate/make good and paint | 2022-09-22 11:37 | ST MARYS | Bathroom 32BB01 - Please make good damp section of wall by shower | Attended site, located defect,moved furniture, protected area. Stains in shower room x2 coats stain block. Applied x2 coats diamond eggshell. As requested by client to make small repairs to wall in 32 G02. Scraped off loose paint. Caulk in area . Spot up repairs with x2 diamond eggshell. Replace furniture. Left area clean and safe.
Investigate Misc. - Other | 2022-09-26 09:32 | SOUTH KENSINGTON | damp in cupboard | Treated with stain black and paint with mould black-Mo Material supplied by ICL
Investigate Building Fabric - Other | 2022-09-30 10:20 | ACTON | Investigation into the mould carried out by myself and the supervisor led to the shower room and the cracks in the grout and the absence of a silicone seal. We checked all other water appliances and our investigation led to the shower room as source of leak leading to the mould. Also found a leak on wash hand basin in the toilet, which was caused by faulty flexy hoses to tmv tap. I replaced the flexy hoses from icl stock. Sub request for a fabric engineer to fix the tiling grout and seal and damage to the walls caused by mould. -------------------------------------------------------------------------------- Men's Noonan changing rooms- both shower room and the toilet room have mould on all walls. Something must be definitely leaking. Theres a strong mould smell in the shower room | 5/10/22- Materials are now onsite (mastic grout). works to be completed by X on Friday 7/10/22. Jenny 08/10/22 Sanper-Steven-Removed old grout, applied new, made, washed dowm, applied mould and treatment , stain black, 2 coat eggshell Materials were supplied by ICL 10/10/22 Admin Comp
Investigate Decorating - Decorate/make good and paint | 2022-10-03 08:54 | SOUTH KENSINGTON | Make good and paint window area and ledges Rm 013 | Attended site, located defect, protected area. Removed secondary glazing panels. Scraped off loose paint and blisters. Sand down crittle windows and stone mullions. Dust off . wash down with black mould cleaner and rinse off. Replace secondary glazing panels . Left area clean and safe.
Investigate Building Fabric - Check ceiling following leak | 2022-10-19 17:46 | ST MARYS | House 34, room 34G03 Wall paint peeling off, crack in the wall. The crack is damp, and may be caused by the showers above in 341B02 or toilet in 341B01 | 08/11/2022 has adviced Further work required by Contractor Attended and investigated. Target building services have supplied a quote for the external and internal works. Awaiting approval. 30.12.22- works completed- Sanper have repaired the leak to the shower, room was fully decorated
Investigate Building Fabric - Check ceiling following leak | 2022-10-27 17:46 | ST MARYS | Room 42G03- damp affecting bedroom wall and ceiling by bed. Please check flat roof above bedroom - access through bathroom 421B01. Please also check shower in 421B01 | attended site and was shown by the onsite engineer the internal damage to room 42G03 the outlet pipe and hopper to the box gutter of the roof to that building was faulty and leaking allowing water to freely run down the wall and causing water to seep into the outlet pipe will need to be rectified before any works can commence. We need to confirm who's responsibility it is for maintaining the outlet pipe in order to move things forward. Matin /Peter have been copied in. 10/11/22- Quotation raised for the external works- WO5390166- awaiitng internal approval. 11/11/22- client approval received SR / 4549249 12/11/22- Purchase order raised- MX72719- awaiting internal approval. 14/11/22- Purchase order sent to Target Building services, awaiting an ETA. 21/11/22- Target building services, due to attend 22/11/22 for remedial works. 23/11/22- Target Building services- The fibre glass outlet to the gulley from the roof was not sealed when it was fitted which was allowing water to run back behind the gulley and down the wall. We have now done this and cleaned out the gulley as well we have also removed all the moss from the wall. Regarding the internal damage to the wall & ceiling of room 42G03 I would allow this to dry out for a few weeks as there is obviously a lot of water within the wall still that needs to dry and you still might get some extra damage internally until this has dried. 23/11/22- Quotation raised for the internal works- WO5404390. awaiting internal approval. 28/11/22- Quotation approved SR / 4555440. 28/11/22- Purchase order raised for Target- MX73543. dehumidifiers to be hired to dry the room prior to commencing works. 30/11/22- purchase order MX73684- sent to HSS hire, ref 9991-C6791. We will deliver tomorrow morning.
Investigate Building Fabric - Check ceiling following leak | 2022-11-04 18:20 | ACTON | Ceiling tile in study room 2 has disintegrated and fallen from the ceiling- it feels damp to the touch &is stained. | No sign of leak found above the ceiling pipework and lagging. Ceiling tiles with suspected old stains replaced with new. Administratively completed 17/12 JA
Investigate Building Fabric - Other | 2022-11-09 15:30 | ST MARYS | 42G03 - Scrape off fungi/mushroom from ceiling and wall caused by leak from the flat roof | Scrapped off mould and mushroom from ceiling, cleaned, re-scrapped remnants and cleaned and it is ok 10/11/22 Admin Comp
Investigate Mechanical - Extract fan | 2022-11-09 19:38 | ACTON | KP C1702A - bathroom fan blows out air instead of sucking it in. Please investigate as the bathroom gets very mouldy/smelly due to moisture. The walls and floor never dry during the day. ICL supervision needed while entering this flat. | Attended and checked the bathroom fan unit have switched the power supply off and removed the fan unit air is felt in the duct. Awaiting for further instructions 24/01/23 - Scheduled attendance for 25/01/23 with X 27/01/23 - Scheduled attendance for 01/02/23 with X Monday, 30 January 2023 10:36 X: Work Carried Out? Attended to the C1702A This is a warden room Switched power off Isolated DB Removed the bathroom extractor fan Switched power back and tested Fully functioning when disconnected from ceiling All settings correct at the extractor fan However my finding are the ceiling flexible ductiong is blowing air into the bathroom. There are no electrical issues and fan fully functioning Part Used? No Additional Part Needed? No Possible Cause? N.A Additional Work Carried Out? N.A Additional Work Required? N.A Evidence of work done photos attached? N.A Current Status? Bathroom fan fully functioning
Investigate Decorating - Decorate/make good and paint | 2022-11-17 16:09 | ST MARYS | 38BB03 - Bathroom- please srape, fill and paint mouldy areas at the bottom of the doors | Job Complete confirmed
Investigate Decorating - Decorate/make good and paint | 2022-11-21 08:51 | SOUTH KENSINGTON | Clean mould and paint if needed - window area | Attended site, liaise with supervisor. Moved furniture and secondary glazing panels. Wipe down windows and secondary pane with black mould cleaner. Then clean water and buff up. Replaced furniture and secondary glazing panels. Left area clean and safe.
Investigate Decorating - Decorate/make good and paint | 2022-11-21 14:27 | ST MARYS | 68BB02- MAKE GOOD DAMP ON WALL OF BASEMENT BATHROOM | 13.12.22- made good, filled and painted. 2hr. Admin Comp. 29.12.22- Confirmed and double checked by X (sanper).
Investigate Mechanical - Extract fan | 2022-11-22 10:02 | ST MARYS | 40BK01 - Mould build up - check extractor fan and heating, make good | Engineer attended - Mould build up has been cleared extractor fan checked and in working order. 29/30/2022 Job Complete confirmed
Investigate Plumbing - Toilet leaking | 2022-11-23 14:46 | ST MARYS | 50BB01 - Toilet leaking causing damp/mould issues. P2 put in by recommendation of operative.
Investigate Decorating - Decorate/make good and paint | 2022-11-24 09:38 | SOUTH KENSINGTON | Make good and paint mouldy walls - S4.15 Shower room | Attended site, liaise with supervisor. Protected area. Wipe down ceiling and walls with black mould cleaner and rinse off. Scraped off loose paint and blisters, raked out cracks. Made good with filler x2 fills. Sand spot up with vinyl Matt. Caulk in all corners with decorators caulk. Applied x2 coats diamond eggshell to ceiling and walls. Left area clean and safe.
Investigate Decorating - Remove mould | 2022-11-24 11:58 | ACTON | B1003B- air vent on top of window has left mould on the wall. Please clean mould patch and leave air vent open. Do not close. | 24/11 - Condensation and mould around window vents cleaned as requested. Completed by X
Investigate Carpentry - Other | 2022-12-15 15:07 | SOUTH KENSINGTON | Clean mouldy walls & within the shower sealant - Flat 222
Investigate Decorating - Decorate/make good and paint | 2022-12-20 12:54 | SOUTH KENSINGTON | Mouldy ceiling in bathroom - SubWarden 342 | 24/01/23 - Scheduled attendance for 25/01/23 26/01/23 - Scheduled attendance for 30/01/23
Investigate Decorating - Decorate/make good and paint | 2023-01-06 12:06 | SOUTH KENSINGTON | Clean mouldy window and paint if needed - Rm 102 | Attended site, liaise with supervisor. Moved furniture, removed secondary glazing panels. Protected area. Wipe down windows with sugar soap & rinse off x2. Applied x2 coats mould inhibitor to crittle windows & mullions leave to dry between coats. Wipe down secondary glazing panels and buff up. Replaced glazing panels and furniture. X2 windows. Left area & safe
Investigate Decorating - Decorate/make good and paint | 2023-01-09 11:13 | ST MARYS | Folowing defect number 1956821- please scrape, fill and paint section of ceiling and walls affected by paint. Attn Sanper | Dehumidifier was placed in room (Salisbury rental) for 2 weeks. Mould was scraped from walls, prepared and turret filler applied to damaged wall, then sanded, mould block applied and painted with dulux vinyl Matt paint. Ceiling was patched in along with one other wall patched in. 5 litre dulux paint used, (Salisbury stock) Material arrived and cost inputted.
Investigate Decorating - Decorate/make good and paint | 2023-01-13 09:50 | SOUTH KENSINGTON | Clean mouldy window and paint if needed | Attended site, liaise with supervisor, located defect. Moved furniture and secondary glazing panels. Wipe down windows, mullens, secondary glazing wipe windows with sugar and rinse off & buff up. Crittle windows & mullens applied x2 of black mould inhibitor. Replaced secondary glazing and furniture. Left area clean and safe.
Investigate Mechanical - Extract fan | 2023-01-19 15:01 | ST MARYS | 308 shower extractor fan not working - mould in shower/bathroom | 27/01/23 - Scheduled attendance for 31/01/23 New extractor fan needed for shower, I have sent over details to terry
Investigate Decorating - Remove mould | 2023-01-23 19:00 | ACTON | C104E - mould in the shower cubicle and ceiling, please remove the old mastic/grouting and put in new one. | 27/01/23 - Scheduled attendance for 03/02/23